1. Appropriate hand hygiene must be followed. See test procedure for details.

2. Can ONLY be done on urine

a) Serum is a non-waived testing protocol

3. Add three drops of urine to the test cartridge

4. Program the timer for 3 minutes

5. Verify the internal control line is visible

6. State whether or not the test is valid if the internal control fails

7. Clearly state the difference between a positive and negative result

8. If being used in the lab, report out result using Meditech

9. If being reported Outside the lab, internal control must be documented with every test result.

**Please review the lab procedures in the BDH organization-wide Policies and Procedures manual. This manual may be found in SharePoint under the Policies and Procedures tab, Organization wide, Laboratory. You will be asked to locate these procedures by an inspector.**

1/2014 DDe