## Slide 1: Regional Pre-Analytical Processes Inservice
Agnes Bautista
ADA, Ancillary Services, RRL-CH
4/12/19
FONTANA
BALDWIN PARK
ANTELOPE VALLEY
DOWNEY
BAKERSFIELD
LAMC
OC-ANAHEIM
OC-IRVINE
PANORAMA CITY
RIVERSIDE
ZION
SOUTH BAY
WEST L.A.
WOODLAND HILLS
MORENO VALLEY MED CTR
ONTARIO
SAN DIEGO

## Slide 2
SOUTH BAY/ HC | ANTELOPE VALLEY
WEST L.A. | BAKERSFIELD
LAMC | PANORAMA CITY
WOODLAND HILLS | 
medical centers – SHERMAN WAY rrl

## Slide 3: medical centers – chino hills rrl
FONTANA | IRVINE
ONTARIO | DOWNEY
RIVERSIDE | SAN DIEGO
BALDWIN PARK | ANAHEIM
MORENO VALLEY | 

## Slide 4: SPECIMEN FLOW FOR SCAL
SW RRL
AV
BAK
SB
LA
PC
WH
WLA
CH RRL
ANA
BP
SD Zion
DOW
FON
IRV
ONT
RIV
MVMC
GENETICS
[Electronics Pl]
FLOW CYTOMETRY [LAMC]
RELAYS
Direct Route
Direct Route
Direct Route
Direct Route

## Slide 5: BLUE LABEL TOTE
RED
LABEL
TOTE
NO LABEL
TOTE
GREEN
LABEL
BT/FLOW CYTOMETRY TOTE
AMBIENT
YELLOW
LABEL
GENETICS
TOTE
CHINO HILLS PURPLE TOTES
AMBIENT
AMBIENT
REFRIGERATED
AMBIENT
REFRIGERATED
FROZEN

## Slide 6: BLUE LABEL TOTE
RED
LABEL
TOTE
NO LABEL
TOTE
GREEN
LABEL
BT/FLOW CYTOMETRY TOTE
YELLOW
LABEL
GENETICS
TOTE
AMBIENT
AMBIENT
REFRIGERATED
AMBIENT
REFRIGERATED
FROZEN
SHERMAN WAY GREY TOTES

## Slide 7: METHOTREXATE STYROFOAM BOX STAT
MEDICAL CENTER INTERNAL TOTES
NEVER DELIVER TO RRL
CYTOLOGY
CLEAR WHITE BINS
INCUBATOR CARRIER
TOTE
COMMON
TOTES/BINS/CONTAINERS
RED TOTES
YELLOW BAG
RED BINS
CP
AP

## Slide 8: Incubator carrier tote
PURPOSE
To provide a controlled temperature environment
(33-37º C) for optimal growth of fastidious organisms on plated…
Respiratory Cultures
Sterile Site Cultures
Low Volume Urine Cultures
REPAIRS
Send to RRL-SW/Lab Technology Services (LTS)
Label “TO” and “FROM”
Indicate if it’s for…
- Repair
- Replacement
- Additional Chargers
- Additional Power supplies
- Additional Incubator Carrier Totes
Email requests to Alan Dosa /Keith Lawson for approval

## Slide 9: PCM - Coolants (Phase Change Material)
FROZEN
BLUE LABEL
0º to -7º C
24 hrs.
REFRIGERATED
RED LABEL
2-8º C
24 hrs.

## Slide 10: PACKING - REFRIGERATED SAMPLES
SMALL TOTE SMALL PCM (Red)
LARGE TOTE LARGE PCM (Red)

## Slide 11
PACKING - FROZEN SAMPLES
SMALL TOTE SMALL PCM (Blue)
LARGE TOTE LARGE PCMs (Blue)

## Slide 12: VISUAL SORTS
UTM
HSV/EV PCR
O & P
FALCON
TUBE
PAP SMEAR/HPV
ENTERIC PCR
CLOSTRIDIUM
DIFFICILE
DAU
BORDETELLA
PERTUSSIS
MICROTAINER BULLETS
IFOBT
OR

## Slide 13
BLUE RACKS
RRL-CH
RRL-SW
FOL
PHI
ACTH
COAG
HIV-
MONOGRAM
LAV5
TAN3
CTGCU
CTGCS
ELECTRO-
LYTES
CHEM
PST4
PINK6
K2 EDTA
ROY7
AMBER
ALIQ.
GY7
CLEAR
ALIQ.
CBC
HBA1C
RED7
ALC
LEAD
PCT
ALC
ZINC
ABO
RH
GWH3
MICRO-
ALBUMIN
MTX
DRUGS
IMMUNO-
SUPRESSANTS
GLD6
APTIMA
GENPROBE
APTIMA
GENPROBE
DO NOT RACK
THE FOLLOWING SAMPLES:
- Visual Sorts Containers
- Microtainer Bullets
- Urine Cultures
- Eswabs
Refrigerated
Refrigerated

## Slide 14: Bacteriology ambient
CSF
CULTURE
URINE
CULTURE
ESWAB
BLOOD
CULTURES
POR-A-CUL
TISSUES/
SPUTUM
THIO
RRL-CH
RRL-SW

## Slide 15
PHI
Prostate Health Index
Spin/Aliquot/Freeze
FROZEN
BLUE LABELED TOTES
ACTH
Spin/Aliquot/Freeze
COAG
Spin/Aliquot/Freeze
MONOGRAM HIV TESTS
Spin/Freeze
RRL-CH
RRL-SW

## Slide 16
NON-GYN
CYTOLOGY
FNA
NON-GYN
CYTOLOGY
BODY FLUIDS
FLUIDS
GYN
CYTOLOGY
PAP SMEARS
CYTOLOGY
CLEAR PLASTIC BINS
CLEAR
PLASTIC
BINS

## Slide 17: RRL-CH
SAMPLE STABILITY
48 hrs.
(Ambient)
TESTING
CUT-OFF
2:30pm
# SAMPLES
PER DAY
30-40
TYPES OF SAMPLES
Bone Marrow
Blood
Body Fluids
COURIER
DIRECT ROUTES
DEPART ARRIVE
CRL LAMC
WEEKDAY
6:00am 6:55am
12:45pm 1:40pm
WEEKENDS
6:00am 6:55am
10:45am 11:45am
DEPART ARRIVE
SWL LAMC
WEEKDAY
6:30am 7:00am
4:35pm 5:25pm
WEEKENDS
6:45am 7:15am
BT/FLOW CYTOMETRY
GREEN LABELED TOTES
RRL-SW
GREEN
LABEL
AMBIENT

## Slide 18: BONE MARROW COLLECTION KIT
OTHER
GENETIC SAMPLES
AMBIENT
REFRIGERATED
GENETICS
YELLOW LABELED TOTES
AMBIENT
REFRIGERATED
NUMBER OF SAMPLES/DAY
200
BONE MARROW DAY
20
SAMPLE STABILITY
24 hrs
(most)
COURIER
DIRECT ROUTES
DEPART ARRIVE
CRL GENETIC
WEEKDAY
10:30am 11:30am
3:40pm 4:40pm
WEEKENDS
6:00am 7:15am
3:15pm 3:55pm
DEPART ARRIVE
SWL GENETIC
WEEKDAY
6:30am 6:50am
11:40am 12:00pm
2:15pm 2:35pm
7:20pm 7:45pm
10:15pm 10:45pm
WEEKENDS
6:10am 6:30am
11:45am 12:15pm
RRL-CH
RRL-SW

## Slide 19: CASSETTES
HISTOLOGY
TOTES/CONTAINERS
TISSUE BLOCKS
RRL-SW
RRL-CH

## Slide 21: ctgc
CTGCU
(urine)
CTGCS
(swab)
SEND TO RRL
- IN BLUE RACKS
- DO NOT PIERCE FOIL CAP
- DO NOT WRITE ON FOIL CAP
IMPORTANT: CTGC samples MUST be in BLUE RACKS to prevent contamination

## Slide 22: Quantiferon TB Gold Plus
All 4 tubes fill volume within the black mark (0.8 to 1.2mL)
Do not send to RRL if above or below the black mark
Shake tubes firmly (up/down motion) 10 times
Keep at Room Temperature (22°C ± 5°C)
Deliver to RRL within 16 hours from collection time

## Slide 23: Boric acid GREY TOP TUBE
URINE CULTURES
MINIMUM VOLUME IS:
3.0 ml.
NOTE
In the event the transferred urine falls below the 3.0 mL minimum fill line in the boric acid test tube, immediately (within 24 hrs., refrigerated) plate urine from the boric acid test tube on to agar plates.
Urine volume less than 3.0 ml.
MUST be plated on agar plates

## Slide 24: eswab
One Cerner Barcode Label per specimen
Do not cover Cerner Barcode Label
Medical Center Collection Label
CERNER BARCODE LABEL
ESWAB

## Slide 25
MUST be vertical & visible
CERNER barcode label is on TOP
MATCH & PAIR bottles together with Rubberband or Biohazard Bag
BLOOD CULTURES
COLLECTION
LABELING
PREPARATION
PEEL plastic top
Disinfect top with 70% ALCOHOL prior to inoculation
Allow alcohol to AIR DRY for 1 min.
INOCULATE blood culture bottles
ADULTS: 5 - 10 mL
PEDIATRICS: 1 - 2 mL
Blood Culture bottle fill mark
Green arrow - 10 mL
Red arrow - 5 mL
Blue arrow - Uninoculated

## Slide 26: IFOBT Proper Labeling

## Slide 27: YELLOW BAG
SHARED SAMPLES
SHORT SAMPLES
SPECIAL HANDLING
INPATIENT
BACTERIOLOGY SAMPLES

## Slide 28: METHOTREXATE (MTX) “STAT”

## Slide 29
RACK SAMPLES
Use BLUE RACKS when sending samples to Regional Lab
Unracked samples can lead to delayed TAT
IMPORTANT: CTGC samples MUST be in BLUE RACKS to prevent contamination

## Slide 30
UNSPUN SPECIMENS CAN LEAD TO
DELAYED TAT & TEST CANCELLATIONS
UNSPUN SAMPLES
REMEMBER TO:
1. INVERT 5x
2. CLOT 30 min.
3. SPIN 10 min.

## Slide 31
WRITING ON ACESSION LABELS
ACCEPTABLE
 OK TO WRITE DIRECTLY BELOW ACCESSION NUMBER
 NO MARKS OF ANY KIND
NOT ACCEPTABLE
* NO WRITING, MARKS, OR STAMPS IN AREAS SHOWN

## Slide 32
INVESTIGATE - Regional Labs, Medical Centers, Couriers
EMAIL - Information to Medical Centers/Couriers
RETURN - Specimen back to Med. Ctr. in Styrofoam w/big red label
MISDIRECTED SPECIMENS

## Slide 33
ONE PACTRAC - per one container
DO NOT - copy or duplicate
DO NOT - re-use
PACTRAC

## Slide 34
https://sites.sp.kp.org/teams/labsc/loc/rrl/csc/Lists/SupplyRequestForm/Item/newifs.aspx
SUPPLY REQUEST FORM

## Slide 35
LABNET
http://kpnet.kp.org:81/california/scpmg/labnet/index.htm
Search for Test Information
  Temperature Stability
  Processing Instructions
  Collection Container
  Technical Bulletins
Courier Schedules
  Create PacTrac

## Slide 36
GROUP MAILBOX
SCAL-RRL-Ancillary-ITS-Support@kp.org
PURPOSE
Provide direct communication in reporting and addressing all Courier related...
                Issues
                Questions
                Comments
                Suggestions
                Concern
                SUPPORTED BY
        Integrated Transportation System (ITS)/Regional Couriers
        RRL-NH, Ancillary Services Team (aka: Specimen Processing Dept.)
        RRL-CH, Ancillary Services Team

## Slide 37: Thank you!
Life is Good
at Chino Hills
It’s a Great Day
at Sherman Way