San Bernardino County Area                                                                         Ontario Medical Center

CLS Annual Competency Quiz 2024

Passing Score: 80%

Name: _____________________________                                               Score: _______________

Date:________________________

- Do not report the presence of Trichomonas for Wet mount specimen that are received ≥ 2 hours from time of collection unless it is motile, instead click on the drop- down corner of the DTA result field and choose Unable to Determine. Under Result comment, type TRICH, then hit F9 on the keyboard to add the comment “The presence of Trichomonas vaginalis cannot be ruled out.  Please reorder and submit another specimen if clinically indicated.

True          False

- CSF culture requires inoculation to BAP/Choc agar plates and Thio. If <1ml volume is present on the tube used for culture, a green sticker should be attached to CSF plates.

True          False

- It is OK  to mix components from different kit lots or use leftover reagents from the old kit and mix with newly opened box for tests like Mono, Strep Pneumo, HIV-1/2.

a. True

b. False

c. It does not matter

- If the urine sample is orange, grossly bloody, green or displays any visible abnormality, in place of the first result (Ur Glucose), right click and select Comments. Under Result

Comment click EDIT/ F2 and template box will appear. Under Name type “INTERF”, select Find/ OK. The comment will translate to “Unable to report due to the

presence of interfering substances”. OK/ Close. On the result column convert all to free text and type “INTERF”. Under Micro Exam select “To Follow” and proceed to manual Micro Exam.

True           False

- Each AmniSure ROM has built-in reagent and procedural controls to assure accurate reading of the results. The appearance of one or two lines in the test results area verifies the integrity of the test procedure.

Interpret each possible result below:

Result: ______________________

Result: ____________________

Result: ______________________

- Interpret the CDiff Quick Chek Complete results

Answer:  __________________                                Answer: _____________________

- In performing Malaria Rapid Test using the BinaxNow malaria test kit, interpret the following test results below.

Result: ______________    Result: _________________

- Attaching a critical call notification to a positive/critical gram stain results from sterile sites should be documented in Micro Results Entry Comments viewer under “Order Comment”, “Edit”, Type “Crit F9” to get the canned comment. Document the critical result notification. Click “OK” , then “Close” and then go back and Verify the Performed  gram stain result.  Also, place the Cerner barcode label on the Gram stain log binder under the tab “Critical gram stain Notification” for the purpose of documentation tracking and audit.

True    False

- In the Gram stain slide preparation, for smears of pus, aspirations, or similar exudates, the process is to spread the sample to a thin film over a large area on the slide by using a sterile loop or applicator stick.  If in e-swab , vortex for 5 sec and place 1-2 drops of the fluid onto the slide then spread the sample using a sterile loop. Do NOT use the swab from the e-swab to spread the sample.

True    False

- For a Reactive result  in the Alere Determine ™ HIV- ½ Ag/Ab Combo, the intensity of the test line does not necessarily correlate with the titer of antigen or antibody in the sample.

True    False

Identify the arrowed object

Urine sediment

Answer:  ___________________________

Urine sediment

Answer: ____________________________

Urine sediment

Answer: __________________________

Urine sediment

Answer: _______________________

Identify the object

Vaginal, unstained

Spermatozoa are ________________ (present or absent)

Vaginal, unstained

Answer: ___________________________

Stool (Wright - Giemsa)

Leukocytes are __________________ (present or absent)

Vaginal, unstained

Pinworm/Pinworm eggs are ________________ (present or absent)

Identify the arrowed object

Urine sediment

Answer:  ____________________

Gram stain

Answer:  ___________________  (Gram stain reaction and morphology)