Document Title:  Clinical Laboratory Critical Value Notification Policy

| Author: | Effective Date: Note: The Effective Date is assigned after all approval signatures are obtained | Supersedes Procedure # |
| --- | --- | --- |
| Liz Peterdy | 13JAN2014 | SH.CP.AA.lgp.0049.0011 RR.CP.GL.Adm.0001.0004 PL.CP.GL.Adm.0008.0003 SW.CP.GL.Adm.0004.0004 IO.CP.GL.Adm.0004.0001 |

| Revised By: | Date Revised | Effective (adopted) Date: Note: The Effective Date is assigned after all approval signatures are obtained |
| --- | --- | --- |
| E. Peterdy | 31 DEC 2018 |  |

| Approval Signature | Approval Date |
| --- | --- |
| Neil Blumberg, MD |  |
| Richard Burack, MD |  |
| Tamera Paczos, MD |  |
| Xiaolan Ou, MD, PhD |  |
| James Corsetti, MD, PhD |  |

| Distributed to | # of Copies | Distributed to | # of Copies |
| --- | --- | --- | --- |
| SharePoint Ridgeland/SW/IOH | 1 | RR Room 171 Laboratory | 1 |
| Strong West | 1 | RR Room 133 Laboratory | 1 |
| Red Creek | 1 | RR Room 134 Laboratory | 1 |
| IOH | 4 | RR Annex | 1 |

Document Title:  Clinical Laboratory Critical Value Notification Policy

| Author: | Effective Date: Note: The Effective Date is assigned after all approval signatures are obtained | Supersedes Procedure # |
| --- | --- | --- |
| Liz Peterdy | 13JAN2014 | SH.CP.AA.lgp.0049.0011 RR.CP.GL.Adm.0001.0004 PL.CP.GL.Adm.0008.0003 SW.CP.GL.Adm.0004.0004 IO.CP.GL.Adm.0004.0001 |

| Revised By: | Date Revised | Effective (adopted) Date: Note: The Effective Date is assigned after all approval signatures are obtained |
| --- | --- | --- |
| E. Peterdy | 3 DEC 2018 |  |

| Approval Signature | Approval Date |
| --- | --- |
| Jessica Kleiner, MD |  |
| Dirk Bernold, MD |  |
| Melissa Allen |  |

| Distributed to | # of Copies | Distributed to | # of Copies |
| --- | --- | --- | --- |
| SharePoint Ridgeland/SW/IOH | 1 | RR Room 171 Laboratory | 1 |
| Strong West | 1 | RR Room 133 Laboratory | 1 |
| Red Creek | 1 | RR Room 134 Laboratory | 1 |
| IOH | 4 | RR Annex | 1 |

REVISION HISTORY

| Policy # | Revision Date | Reason for Revision |
| --- | --- | --- |
| RR.CP.GL.Adm.0001.0001 | 23/May/2013 | Update Critical Value- WBC |
| RR.CP.GL.Adm.0001.0002 | 16Jan2014 | Updated Format, Add Critical Value for Band Counts and Amend Total Billi calling parameters |
| RR.CP.GL.Adm.0001.0003 | 2Dec2014 | Amend Band, Hct and Plt parameters for clarity. |
| RR.CP.GL.Adm.0001.0004 SH.CP.AA.lgp.0049.0011 | 31 Dec 2018 | Update to Critical value for Glucose and Magnesium Align Affiliate Policies with SH.CP.AA.lgp.0049. RR.CP.GL.Adm.0001. PL.CP.GL.Adm.0008. SW.CP.GL.Adm.0004. IO.CP.GL.Adm.0004. |

# TITLE: Clinical Laboratory Critical Value Notification Policy

- PURPOSE

- The purpose of this document is to define a process to notify appropriate persons of laboratory values meeting the established criteria of an Alert Value for all Lab Sections within the scope of this policy.

- POLICY

- In order to assist the ordering physician in responding to certain potentially life-threatening outcomes, a group of laboratory test results that merit immediate notification has been identified. This procedure is not intended to cover all clinically serious test results or changes in test results. Therefore, it is essential that the ordering physician take responsibility for following up on all test results in a timely fashion.

- Cutoff values for certain laboratory tests (list below) were determined based on the literature and experience. This list is somewhat subjective, but can be modified based on ongoing experience. Given the volume of testing performed in the clinical laboratories and lack of detailed clinical information, it is not possible to set different critical value limits based on clinical setting.

- SCOPE

- This procedure is used throughout the following UR Medicine Lab sites with the exception of those identified in the limitation section. Policy is applicable to Strong Memorial Hospital (SMH), UR Labs Central Laboratory, and UR Medicine Lab owned affiliates, when a laboratory test yields a result that meets established Standard Critical Values, also known as alert or panic values.

- ACRONYMS/definitions

| Term | Definition |
| --- | --- |
| N/A | Not Applicable |
| Critical Value | A specific result value or level defined as significant to the health and safety of a patient. Attention is not given to differentiating which abnormal results are or are not unexpected in the context of the clinical history, the ordering physician is expected to apply context. |
| HH | Highland Hospital |
| IHN | Integrated Health Network |
| Ordering Physician | A physician with legal authority to request a laboratory test that has initiated a laboratory order. |
| RC | Red Creek Laboratory |
| RR | Ridgeland Road Laboratory |
| URMC | University of Rochester Medical Center |

- RESPONSIBILITIES

| Group/Person | Responsibility |
| --- | --- |
| Laboratory Manager | Ensures the development of this procedure. Reviews and approves this document. |
| Quality Assurance | Supports the development of this document. Review and approval of this document. |
| Medical Director or Designee | Ensuring that procedures are followed. Review and approval of this document. |
| Technical Staff | Follows the procedures. |

- GENERAL GUIDELINES

- Critical values will be reported according to the following protocol:

  - For some tests (see list), the lab computer will be checked and if a similarly abnormal value was reported within the past two days, the repeat critical value will not be treated as an emergency and will be reported according to our standard protocol (i.e. will not be immediately called).”  Exception will be given to repeated critical values within 48 hours and are preceded by a result falling within the normal range of the assay.  In this case, the result will be treated as an emergency and called.
Results that are invalidated by an inadequate specimen (i.e. low glucose in a red-top tube over 4 hours; potassium in a hemolyzed sample) will not be reported as a critical value. These tests will be recorded with an appropriate comment in the laboratory computer.

  - The test result will be immediately reported. The laboratory has established a 5 minute turn around time from verified critical result to notification. Deviations will be followed-up as needed.

  - The responsible provider, inpatient location or private office, is to be called with the results. If the provider is not available, a nurse or other designee can be given the result but should be instructed on the necessity to give this result to the provider in a timely manner.

- Give result(s) and request a read-back of “what was written down” and document in LIS.

- If the results are not given to the provider directly (nurse or designee), confirm that the recipient acknowledges the severity of the result and that it should be communicated to the provider within 15 minutes.

  - When critical results need to be called after hours or when the office is not open, an on-call provider or answering service must be available on a 24-hour basis to take responsibility for receiving the test result.

  - If an answering service is called, the urgency of the result and necessity to give this result to the responsible physician is explained, but the result is not reported and an appropriate call- back number is left. The time and person receiving the call is recorded as an internal comment in the lab information system. The responsibility for contacting the responsible physician rests with the office / answering service but follow-up must be ensured by calling laboratory.

  - Necessary Components of Calling a Critical Value:

    - Clear introduction including name, department, and laboratory (for offsite locations).

    - Reason for phone call: Critical Value.

    - Patient involved – Two identifiers (Name and DOB or MRN).

    - Ask for caregiver (doctor, nurse) of patient identified.

    - Give result(s) and request a read-back of “what was written down”.

    - Document transaction in call box, to include:

  - name of person who took the result

  - date and time

  - verification that the read-back was performed.

  - Clinical Laboratory Critical Value Immediate Notification Test List
Chemistry/Hematology Tests

| Assay | Critical Value Low Limit | Critical Value High Limit | Call if similar result within 2 days? |
| --- | --- | --- | --- |
| Blood Gas |  |  |  |
| pH (mm Hg) | 7.20 | 7.60 | Yes |
| pCO2 (mm Hg) arterial only | 20 | 70 | Yes |
| pO2 (mm Hg) adult arterial only | 46 | -- | Yes |
| pO2 (mm Hg) newborn < 5 days old arterial only | 40 | 91 | Yes |
| MetHb (%) | -- | 30 | Yes |
| COHb (%) | -- | 20 | Yes |
| General Chemistry |  |  |  |
| Calcium (mg/dl) | 6.5 | 13.0 | Yes |
| Ionized calcium (mg/dl) | 3.1 | 6.3 | Yes |
| Chloride (mmol/l) | 80 | 120 | Yes |
| CO2 (mmol/l) | 10 | 40 | Yes |
| Glucose (mg/dL) newborn 0-1 days | 25 | 200 | Yes |
| Glucose (mg/dL) newborn day 2-7 | 40 | 200 | Yes |
| Glucose (mg/dL) adult | 50 | 500 | Yes |
| Glucose, CSF (mg/dL) | 37 | -- | Yes |
| Lactate (mmol/l) | -- | 3.5 | Yes |
| Osmolality (mOsm/kg) | 250 | 325 | Yes |
| Mg (mg/dL) | 1.0 | 4.8 | Yes |
| Phosphate (mg/dl) | 1.1 | 9.0 | Yes |
| Potassium (mmol/l) newborn 0-2 days | 2.8 | 8.0 | Yes |
| Potassium (mmol/l) 3-8 days | 2.8 | 7.0 | Yes |
| Potassium (mmol/l) 9-120 days | 2.8 | 7.0 | Yes |
| Potassium (mmol/l) adult | 2.8 | 6.2 | Yes |
| Sodium (mmol/l) | 120 | 160 | Yes |
| Total Bilirubin (mg/dl) < 1 week | -- | 15.0 | Yes |
| Hematology |  |  |  |
| Band count | -- | 16% for 1 day old; 11% for all other ages | Yes |
| Hematocrit (%) | 19 | -- | No |
| INR | -- | 5.0 | No |
| Malaria smear | -- | Organisms + | No |
| Platelet count (thousand/microl) | 19 | -- | No |
| Organisms seen in bld, CSF smear |  | any | No |
| WBC (thousand/microl) | -- | 150 | No |

| Toxicology |  |  |  |
| --- | --- | --- | --- |
| Acetaminophen (ug/ml) | -- | 50 | Yes |
| Alcohols (mg/dl) |  |  |  |
| --Ethanol | -- | 300 | Yes |
| --Methanol | -- | 10 | Yes |
| --Isopropanol | -- | 10 | Yes |
| --Acetone | -- | 20 | Yes |
| Carbamazepine (ug/ml) | -- | 15 | Yes |
| Digoxin (ng/dl) | -- | 2.5 | Yes |
| Lithium (mmol/l) | -- | 1.50 | Yes |
| Phenobarbital (ug/ml) | -- | 50 | Yes |
| Phenytoin-Dilantin (ug/ml) | -- | 40 | Yes |
| Free Phenytoin (ug/ml) | -- | 3.5 | Yes |
| Salicylate (mg/dl) | -- | 50 | Yes |
| Theophylline (ug/ml) | -- | 25 | Yes |
| Valproate (ug/ml) | -- | 150 | Yes |
| Blood Bank |  |  |  |
| Hemolytic transfusion reaction | Confirmation by lab analysis |  | Yes |

- LIMITATIONS

- For site specific values not included in this policy refer to area specific policy/procedures.

- For Microbiology values, refer to Microbiology Master Reporting Chart: SH.CP.MC.MIC.jad.0001

- Defer to Highland Hospital Critical Value Policy(ies) for Highland Hospital Location.

- REFERENCES

- Policy VI-14 Clinical Laboratory Critical Value Immediate Notification Policy, SH.CP.AA.lgp.0049

- New York State Department of Health Wadsworth Center Clinical Laboratory Evaluation Program. Clinical Laboratory Standards of Practice Part 1-General Systems. January 2017: https://www.wadsworth.org/sites/default/files/WebDoc/NYSDOH_Standards_Part_1_General_Systems_01012019.pdf

- College of American Pathologists, Cap Accreditation Program. Laboratory General Checklist. August 2018: https://www.cap.org/

- Training or Read/Review Signature Log

| Document Title: | Critical Value Notification Policy |  |  |
| --- | --- | --- | --- |
| Document Number: | UR.CP.GL.Gen.0004.0001 |  |  |
| Document Type: | □ SOP | □ Policy | □ Other _________ (specify: Article, Job Aid, Form, SDS revision) |

Brief Description: (i.e. Revised) Update to Critical value for Glucose (SH.CP.AA.lgp.0049.0011) and Align Affiliate Policies _____

Trainer(s): (if applicable, or NA)

Your signature below indicates that you have read/been trained and understood the information.

| Name (print) | Signature | Date (mmm/dd/yyyy) |
| --- | --- | --- |