1.0  	Purpose and Principle

The AimTab Ketone tablet is a CLIA non-waived method used to evaluate carbohydrate 	metabolism in serum. Specimens that contain acetoacetic acid and acetone will form a purple 	color with the nitroprusside active ingredient in the tablet.

2.0	Specimen

Serum, room temp.  Test as soon as specimen received.

May be refrigerated 2° – 8°C for up to 72 hours.

Frozen specimens at -20°C or below for extended periods of time.

3.0	Materials and Supplies

3.1	Aims Ketone Tablets

Germaine Laboratories.  Store between 15° - 30°C.  Keep from direct sunlight.

3.2	Dropper

3.3	Clean White paper

4.0	Procedure

4.1	Remove tablet from bottle and place it on dry clean, dry, white paper. Recap the 				promptly.

4.2	Put one drop of serum directly on top of tablet.

4.3	Compare color of tablet to color chart (see enclosed package insert) 2 minutes after 			applying specimen.

5.0	Quality Control

5.1	Positive and negative control testing is performed each day of testing.

5.2	Results are documented on the designated Chemistry department Quality Control log.

6.0	Interpretation

6.1     Negative = No purple color.

6.2	Positive = Purple color are recorded as small, moderate or large on comparison with the 	 	                 Color Chart.

7.0	Expected Results

Normal conditions of carbohydrate metabolism produce negative results.

8.0  	Limitations of the Procedure

Improper handling of the product to allow moisture absorption will adversely affect results.

9.0	Performance Characteristics

The lower limit of detection in serum is approximately 10 mg acetoacetic acid/dL.

References

AimTab Ketone Tablets package insert, Germaine Laboratories, Inc., San Antonio, TX, #64-13100, Rev. 12-15.

Revised procedure prepared by                                                          Date__________

Revised Procedure approved by                                                          Date___________

Document History Page

| Change type: New, Major, Minor etc. | Changes Made to SOP - describe | Name responsible person/date | Med. Dir. reviewed/Date | Lab Manager reviewed/date | Date change Imp. |
| --- | --- | --- | --- | --- | --- |
| Major | New tablet for use with serum only. | Angela Schemm | Dr. James. Keefe | Emma Galdones | 7/19/2018 |