Manual Refrigerator and Freezer Temperature Log

Use this form when blood storage devices are being monitored manually:

- Chart recording device is not operational

- Storage device is in alarm situation.

| Refrigerator/ Freezer # | Date/Time | Chart Temp, (if available) | Upper Temp | Lower Temp | Digital Temp | Tech ID |
| --- | --- | --- | --- | --- | --- | --- |

Acceptable Temperature Ranges:  -  Refrigerators:  1 °C – 6 °C , Plasma Component Freezers:  Less than  -18 °C.  Tissue Freezers:  Less than -65 °C

Comments/Corrective Action:

Reviewed by:                                                                                                    Date:                                  .