Purpose

Use Blood Product Status Correction to change the final status of a unit.  After correcting a transfused (TR) or issued, final (IF) final status, choose either to reallocate or release a unit that was previously allocated. This change is recorded in the unit’s blood product history file as a correction.

Method

|  | Actions | Computer Processes |
| --- | --- | --- |
| 1 | Correction of a unit from a status of transfused or issued final | - Open Blood Status Correction - Scan or type in the unit# and component type. - Confirm component information in screen header. - Select Remove Status. If any date or time entries need to be changed, enter new information and select Apply. - Enter reason code, and if necessary, free text comments to document the reason for changing the status. - Select “Apply”. - Select Review which will confirm patient allocation. - Save. |
| 2 | Confirming status change of component | - Open Blood Bank Inquiry. - Select Lookup by Unit Number. Scan or type in unit # and component type. Click on Search. - Unit will appear as highlighted entry. Select. - History of unit will display. Confirm all information as correct. Using buttons on left side of screen current and historical information for the unit will be displayed. |

References

Blood Bank User’s Guide Mysis Laboratory