UW Medicine - Pathology

6000-02-02-16

Procedure for Submitting Under-Processed Tissues

Adopted Date: 4/24/13 Review Date: Revision Date:

PURPOSE

To describe the procedure for handling request for reprocessing under processed blocks.

SCOPE

Histology Department

PROCEDURE

- Order request in Power path using applicable code. Type in "rep" and choose from the list.

- Melt block by placing block in a mold leaving it on the hot surface of the embedding center.

- Place a lid on the cassette when the paraffin has melted. Discard melted paraffin.

- Label the block using a permanent pen with "repro" on top of lid and side of cassette.

- Place the cassette in the formalin 8 hour tub in the gross room.

- Complete the repro order from recut work list.

- After reprocessing, cut the necessary number of slides using newly printed slides with "repro" designation on it. Stain slides.\

- Power Trax slides and deliver.

*** If an original H&E slide was previously cut and released, follow steps 1-8 above.

*** If  H&E slide was not obtained because tissue is under processed from initial cutting, follow steps 1-6 and delete the original H&E order. Notify resident or attending assigned to the case which block is submitted for reprocessing. After the block/s has gone through reprocessing, follow steps 7-8.

*** If tissue if found to be under processed during embedding, DO NOT EMBED TISSUE , instead  proceed to steps #3 to # 6 and notify resident or attending assigned to the case.

RELATED DOCUMENT

Recut Work list

Written By:

Bernadine Jocson

Input/Review By:

Maureen Griffo

UWMC Pathology Director Approval:

________________________________