UW Medicine - Pathology

2000-06-01-03

Centrifuge QC Procedure

Adopted Date: 02/09/93 Review Date: 06/05/09 Revision Date: 05/03/11

PURPOSE

To monitor quality control of the Centrifuge in the IHC Laboratory.

PROCEDURE

VWR Centrifuge, model # Clinical 100:

Serial Number:  C807048

Instillation Date: unknown

PM Number: 25905

Preventative Maintenance Procedure:

- Daily (or after each use):

  - Clean any spills

- Semi-Annually:

  - Preventative maintenance is performed by Scientific Instruments every 6 months.

- For problems:

    - Refer to the owner's manual to troubleshoot.

    - If unable to troubleshoot issue, contact Scientific Instruments at 543-5580.

Written By:					Director Approval:

(Signature and Date)				(Signature and Date)

_______________________		___________________________

IHC Supervisor