UW Medicine - Pathology

2000-06-01-14

Waterbath QC Procedure

Adopted Date: 04/28/93 Review Date: 06/05/09 Revision Date: 04/27/11

PURPOSE

To monitor quality control of the two Precision and Isotemp waterbaths.

PROCEDURE

Precision Scientific Waterbath:

Serial Number:  9301-061

Model Number: 182

Instillation Date: 3/16/93

PM Number: B-2346

Procedure:

- Preventative maintenance is performed by Scientific Instruments every 12 months.

- For problems with the water bath, call Scientific Instruments at 543-5580.

Precision Scientific Dual Waterbath:

Serial Number: 9508-305

Model Number: 188

Installation Date: 9/18/95

PM Number: B5252

UWMC Number: 00960107

Procedure:

- Weekly (when in use):

  - Drain the waterbath and dry the interior.

  - Clean the exterior and immediately clean any spills that may occur.

Note: Spills of any chemical should be removed as soon as possible and the stainless steel surface cleaned with mild soapy water followed by copious rinse with clean water.  Do not use soap filled or any metallic pads.  Even stainless steel pads are to be avoided.  If stubborn stains persist use a plastic light duty cleansing pad and rub gently in the direction of the metal grain.  If stains continue to persist use one of the methods described in the instruction manual.

- Annually:

  - Scientific Instruments will perform PM on the unit every 12 months.

Isotemp 2013S Waterbath:

Serial Number: 199251134

Instillation Date:  1999

PM Number: 11379

Procedure:

- Weekly (when in use):

  - Drain the waterbath and dry the interior.

  - Clean the exterior and immediately clean any spills that may occur.

- Annually:

  - Scientific Instruments will perform PM on this unit every 12 months.

  - For problems call Scientific Instruments at 543-5580.

REFERENCE

Precision Scientific Dual Waterbath Model 188

Written By:					Director Approval:

(Signature and Date)				(Signature and Date)

_______________________		___________________________

IHC Supervisor