UW Medicine - Pathology

6000-01-05-29

Collecting Prostate Tissue for Research Procedure

Adopted Date: 06/27/12 Revision Date:

PURPOSE

To properly handle and route research prostatectomy specimens at UWMC.

PROCEDURE

- Day 1.

  - After receiving the prostate from the GU staff, place six blocks in OCT and the remaining tissue in formalin.

  - Ask the support staff to accession the case into Powerpath . These cases will be accessioned with the SH prefix.  If after hours, the researcher can accession the case and notify the support staff the following buisness day to audit the case accessioning. Forward any additonal specimens, including lymph nodes,  to the support staff so they can be grossed by the PA’s.

  - Leave the formalin fixed tissue and the Pathology Request Form on the research cart in the frozen section room(EE207).

- Day 2.

  - Cassette the formalin fixed tissue and fill out the "Prostatectomy Research Template"

  - In PowerPath, flag the case for research.

  - Insert a note to send all slides to Dr. True after the case has been finalized.

  - Cut and H&E stain two frozen sections of each OCT block, one for Pathology as diagnostic slides and one for the research files in the Department of Urology,

  - Order in PowerPath six frozen sections on the blocks that were collected for research (RA, LA, RM, LM, RB, and LB). Order the frozen section slides in Powerpath

  - Scan the "Prostatectomy Research Template" and send a digital copy to Kathy Doan (thithi83@uw.edu).

  - Bring the following items together to the gross room BEFORE 3 pm:

  - Tissue cassettes- Place filled tissue cassettes in the GU rack located at the biopsy station in the gross room (NW211)

  - Frozen section slides- These should be ordered in Powerpath and placed on the top shelf of the gross room refrigerator labeled GU specimens.

  - Residual tissue – The resideual spoecimen contianer should be placed in the gross room refrigerator on the top shelf labeld Gu specimens.

  - Research templates & Pathology Request Form-  These should be copied and a copy sent along with the residual tissue container.  The other copy is given to the support staf fto be scanned into Powerpath

Written By:					Input / Review By:

Dan Luff, MHS, PA(ASCP)			Lawrence True, MD

UWMC Medical Director of Pathology Approval:

(Signature & Date)

_________________________________________________