UW Medicine - Pathology

6000-01-07-03

Surgical Pathology Grossing Guidelines for Biopsies Procedure

Adopted Date: 02/19/09 Review Date: 12/16/10 Revision Date: 05/03/11

PURPOSE

To assure that the biopsies are grossed properly.

SCOPE

Gross room personnel

PROCEDURE

Contents of Gross Description

- Always dictate the full accession number, example: SU09-1234

- Always dictate the name of the resident or attending for whom the dictation is being performed.

- Dictate the patient's full name.

- Dictate the entire clinical data.

- Dictate how the specimen was received, such as fresh or in formalin.

- Describe specimen based on these criteria:

- Size (always in cm)

- Shape (ovoid, irregular)

- Color (tan, white)

- Consistency (soft, hard, rubbery)

  - Dictate what has been done to the specimen:

    - Inked

    - Bisected, trisected

    - Submitted in toto, entirely submitted

  - Dictate the cassette(s) in which the specimen is submitted (A1).

Cutting Criteria

- Tissue larger than 0.5cm must be sectioned.

- For tissue 0.1cm or smaller, please write out a histology special embedding instruction slip and submit on filter paper or in a mesh tea bag.

- Tissue that is white or small should be stained with methiolate.

Written By:					Director Approval:

_______________________		___________________________

Histology Supervisor