Purpose:

To provide instructions for evaluation and acceptance of patient samples for testing in the Transfusion Service at HMC.

Policy:

All patient samples sent for testing to the HMC Transfusion Service will be evaluated for acceptance using the criteria described in this policy, to include sample type, volume and condition; compliance with labeling requirements, and comparison to existing patient computer records.  Failure to meet all requirements will result in rejection of the sample, and request for redraw.

Procedure:

| Step | Action | Related Documents |
| --- | --- | --- |
| 1. | - Check Sample Tube Type for acceptability: - 6 mL pink top EDTA tube –Preferred sample - 6 mL lavender top EDTA tube—Acceptable sample - 6-10 mL Red top CLOT tube—Acceptable for manual testing only. - NOTE: NO OTHER TUBE TYPES ARE ACCEPTABLE |  |
| 2. | - Check Sample Volume. - Volume for routine testing should be ≥ 3ml. - Samples from patients with a high hematocrit will need to have the plasma volume evaluated. - Any samples that are <3ml will be spun and evaluated for plasma volume adequacy. |  |
| 3. | - Check Sample against the Transfusion Services Testing and Blood Product Order Form, which MUST accompany the sample, otherwise the sample is rejected. - Minimum requirements: - Verify patient full name. - Verify patient hospital identification (HID) number. - Verify tube has draw date including year. - Verify tube has draw time indicated. - Verify two signatures on tube and paperwork. - Verify date of birth - Exception: Samples must have been drawn at HMC, and Medic samples will not be accepted for testing. | - Transfusion Services Testing and Blood Product Order Form |
| Step | Action | Related Documents |
| 4. | Verify Patient Identifiers - With the exception of the presence of a patient’s middle name or initial, the following patient identifiers must match exactly on sample label, requisition/order, and computer record: - Patient’s first name, last name, and generational title. - Medical Record Number (MRN) - Date of Birth - Presence of a middle name or initial: - If the middle name or initial is present on one document, either must be present on all documents. - It is acceptable to have a middle name on one and only a middle initial on the other, providing the middle name begins with the same letter used for the middle initial. For example: Requisition/SQ record; Patient Sample; Acceptability. Center, Harbor Medical; =; Center, Harbor Medical; Acceptable. Center, Harbor M.; =; Center, Harbor M.; Acceptable. Center, Harbor M.; =; Center, Harbor Medical; Acceptable. Center, Harbor M.; ≠; Center, Harbor; Unacceptable. Center, Harbor Medical; ≠; Center, Harbor; Unacceptable. Center, Harbor Medical; ≠; Center, Harbor T.; Unacceptable. | - Transfusion Services Testing and Blood Product Order Form - HMC Admin Policy: Administration of Blood Products for Adults |
| 5. | - Verify Sample Draw Date and Time - Draw date on specimen and requisition must include the month, day and year. - Draw Time on sample and requisition must be in reasonable agreement. - Verify Sample Draw Date - Draw date on specimen and requisition must include the month, day and year. - Sample must have ABO/Rh completed within 48 hours of draw. Subsequent testing must be within 3 days of draw, with draw day being day 0. - Note: Qualifying Preadmission samples may be tested up to 14 days. | - Transfusion Services Testing and Blood Product Order Form - Preadmission Requests for Blood Products |
| 6. | - Verify Signatures - Two different signatures on tube and on Requisition or CPOE Order form. - Both signatures are from two different licensed personnel | - Transfusion Services Testing and Blood Product Order Form |
| Step | Action | Related Documents |
| 7. | - In addition, the Request should include the following information: - Diagnosis and/or purpose of testing. - Ordering physician. - Sample draw time. - Tests and Products ordered. | - Transfusion Services Testing and Blood Product Order Form |
| 8. | - The sample is rejected if: - The tube and the paperwork are not clearly labeled (no information missing, incorrect, and illegible) or do not contain the following: - Medical record number, including “H” - Signatures of two different licensed clinicians - Date and time drawn, including year. (Time may be indicated on the sample by circling Date of Service on the ORCA label.) - The sample must be labeled AT THE PATIENT”S BEDSIDE. BOTH Signers must be present when it is drawn. Otherwise it is rejected and a new sample required. | - Sample Rejection - Transfusion Services Testing and Blood Product Order Form |
| 9. | - The request, sample label, and computer must then be compared. - If there is a discrepancy between the three, it is TS responsibility to investigate and resolve before acceptance for testing. - An example: The patient’s name/MRN on a sample does not match the computer at the time tests/components are ordered. - Ask the nurse to read and verify the patient’s name/MRN as it appears on the armband. - If the armband is discrepant from the request and sample label, the sample must be rejected. - Ask the nurse to draw a new confirmation sample. |  |
| 10. | - Errors in patient identification information that are discovered after the sample has been tested require a new, correctly labeled specimen to be sent as a confirmation specimen (e.g. the spelling of the patient name is changed). - Any testing that has been done on the mislabeled sample will be credited and the results canceled. | Canceling Orders and Correcting Results in Sunquest |
| 11. | - Check sample for hemolysis. - Note: Sample with visible hemolysis will be processed at the manual bench. | - Sample Rejection |
| Step | Action | Related Documents |
| 12. | - Check sample for lipemia. - Note: Samples with moderate to gross lipemia will be processed at the manual bench. | - Sample Rejection |
| 13. | - Check sample for contamination. - Note: Samples contaminated with saline or diluted specimens are unacceptable for testing. |  |

References:

Standards for Blood Banks and Transfusion Services, Current Edition, Bethesda, MD:

American Association of Blood Banks.

Roback J (ed). Technical Manual, 16th Edition. AABB Press, Bethesda, MD. 2008