Monthly Alarm Activation Record

Month                                                 					Year  ______________

Acceptable Ranges

| Storage Equipment | Low Alarm Setting | High Alarm Setting |
| --- | --- | --- |
| Blood Storage Refrigerator | 1.5°C | 5.5°C |
| Reagent Storage Refrigerator | 2.5°C | 7.5°C |
| Plasma Freezer | NA | -20°C |
| Ultra Low Freezer | -90°C | -65°C |
| Platelet Incubator | 20.5°C | 23.5°C |

| Equipment Number | Date/Time | Upper Temp | Lower Temp | Digital Reading | Temp Trak Temp | Audible Alarm? Y/N | Temp Trak Pager? Y/N | Tech ID |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |

Comments/Corrective Action:

Review ________________________                          Date: ________________