## Sheet1
University of Washington Harborview Medical Center 325 9th Ave. Seattle, WA 98104
COOPER-ATKINS CORPORATION CERTIFICATE OF CALIBRATION
Instrument Identification
Company: |  |  |  | Harborview Medical Center |  |  |  |  | Appliance ID #:
Address |  |  |  | 325 9th Ave | [5 empty] | Transmitter Model:
|  |  |  | Room BCT 67 | [5 empty] | Transmitter Serial #:
City, St, Zip Code |  |  |  | Seattle, WA 98104 | [5 empty] | Accuracy: |  | +/- 0.1 Deg F
Temp Trak Prover Kit Calibration Information
Technician | [8 empty] | Date:
Condition, As Found: |  |  |  | Good |  |  |  |  | Temperature:
Condition, As Left: |  |  |  | Good |  |  |  |  | Humidity
Procedure: |  |  |  | Mfg.
Reference Standards and/or Measurement Equipment used in this Calibration
Trace # |  |  | Gauge ID # |  |  | Description |  |  |  |  | Model |  | Cal Date |  |  |  | Cal Due
21114007 |  |  | 4002 |  |  | Cooper-Atkins Temp Trak Prover Box |  |  |  |  | 9318 |  | 2013-06-13 |  |  |  | 2014-06-13
Re-Calibration Data
Technician: | [7 empty] | Average Room Temperature: _________ F | [6 empty] | F
Sensor Validation Date: | [7 empty] | Average Room Humidity: _________ % | [5 empty] | %
Sensor Validation Expiration:
Test Point Simulated |  |  |  |  | Readings |  | Delta |  | Tolerance |  |  | Acceptable Limits (+/- 1.5 F)
Temperature- F |  |  |  |  | As Found -F |  |  |  | In |  | Out | Min. |  |  |  | Max.
[12 empty] | -11 |  |  |  | -9
[12 empty] | 31 |  |  |  | 33
[12 empty] | 71 |  |  |  | 73
[12 empty] | 119 |  |  |  | 121
The Instrument(s) listed on this certification has been calibrated to standards traceable to the National Institute of Standards and Technology (NIST). All Calibrations have been performed using standards having an accuracy of four or more times greater than the unit calibrated, unless otherwise stated. This Certificate of Calibration and all associated results apply only to the above named item .
Approved By: