## Serial
HMC TSL Critical Equipment List 1302
EQUIPMENT | MANUFACTURER | MODEL # | SERIAL # | Location | SI # | HMC #
Cell Washer | Helmer | Ultra CW | 0002398 | BCT67 | 28331 | H209901
Cell Washer | Helmer | Ultra CW | 0002449 | BCT67 | 28656
Cell Washer | Helmer | Ultra CW | 0002482 | BCT67 | 28652
Cell Washer | Sorvall | CellWasher 2 | 9800755 | BCT67 | 12619
Heat Block | Thermo Scientific | 2001Q | 1951091138770 | BCT67 | 28330
Heat Block | Thermo Scientific | 2001Q | 1951091241772 | BCT67 | 28332
Heat Block | Lab Net A | Digital | 1B09263 | BCT67 | 28958
Heat Block | Lab Net B | Digital | 1B09261 | BCT67 | 27414
Serofuge | Helmer | EBA21 | 0002133-03-00 | BCT67 | 28333
Serofuge | Helmer | EBA21 | 0002185-03-00 | BCT67 | 28336
Serofuge | Helmer | EBA21 | 0002222-03-00 | BCT67 | 28653
Serofuge | Helmer | EBA20 | 0010970-01-00 | BCT67 | 28654
Serofuge | Helmer | EBA20 | 0010756-01-00 | BCT67 | 27842
Tango | BioTest | Optimo | 9142400397 | BCT67 | 28321
Tango | BioTest | Optimo | 9142400575 | BCT67 | 31154
Stat Spin Express | IRIS | Express 3 | 1037M50203987 | BCT67 | 28394
Stat Spin Express | IRIS | Express 3 | 1039M50204008 | BCT67 | 28393
Digital Scale | Ohaus | Scout Pro | 7131470421 | BCT67 | 28655
Plasma Thawer (T1) | Helmer | DH8 | 996626 | BCT67 | 27845 | H209895
Thawer Digital Thermometer | Helmer | Attached to SN 996626 | 996505 | BCT67 | None | None
Plasma Thawer (T2) | Helmer | DH8 | 993281 | BCT67 | 28233 | H213052
Thawer Digital Thermometer | Helmer | Attached to SN 993281 | 992671 | BCT67 | None | None
Ultra Low Freezer (#3) | VWR | 5656 | 824308-538 | BCT67 |  | H210862
Ultra Low Freezer (#2) | VWR | 5656 | 813026-106 | BCT67 |  | H205377
Ultra Low Freezer (#1) | VWR | 5656 | 425231-634 | BCT67 |  | H211843
Double Door Refrigerator (R1) | Helmer | IB245 | 996711 | BCT67 |  | H-209897
Plasma Freezer (F2) | Helmer | IPF120-4 | 996770 | BCT67 |  | H-209899
Plasma Freezer (F1) | Helmer | IPF120-8 | 996771 | BCT67 |  | H-209898
Reagent Refrigerator (R2) | Helmer | ILR125 | 996609 | BCT67 |  | H-209900
Blood Bank Refrigerator (w/Integral Monitor) (R3) | Jewett | BBR37-1B20 | T27S-129542-VS | BCT67 |  | H205292
Blood Bank Refrigerator (w/Integral Monitor) (R4) | Jewett | BBR17-1B | N10L-512398-NL | BCT67 |  | H173086
Chart Recorder | Jewett | 8ER-1B | DR95-R1735 | BCT67
Chart Recorder | Jewett | 8ER-1B | DR97-R637 | BCT67
Chart Recorder | Jewett | 8ER-1B | DR97-R636 | BCT67
Chart Recorder | Jewett | 8ER-1B | DR98-R1029 | BCT67
Chart Recorder | Jewett | 7ER-1B | DR03R0046 | BCT67
Chart Recorder | Jewett | 7ER-1B | 06-02248 | BCT67
Portable Ref. #3 | Jewett | CT-1 | 61711-298 | BCT67
Portable Ref #4 | Jewett | CT-1 | 59980-297 | BCT67 |  | H167078
Portable Ref #5 | Jewett | CT-1 | 55979-297 | BCT67 |  | H167079
Portable Ref #6 | Jewett | CT-1 | 61876-398 | BCT67 |  | H167788
Portable Ref #7 | Jewett | CT-1 | 65735-100 | BCT67 |  | H174264
Portable Ref #8 | Jewett | CT-1 | N20N-616963-NN | BCT67 |  | H202235
Temp Monitor | Jewett | DTPM-1000-1B | DS0435 | BCT67
Temp Monitor | Jewett | DTPM-1000-1B | D30004 | BCT67
Temp Monitor | Jewett | DTPM-1000-1B | D30002 | BCT67
Temp Monitor | Jewett | DTPM-1000-1B | D30001 | BCT67
Temp Monitor | Jewett | DTPM-1000-1B | D30007 | BCT67
Temp Monitor | Jewett | DTPM-1000-1B | D21128 | BCT67
Military time clock | Accuprint | 175 | 2545850 | BCT67
Military time clock | Accuprint | ES700 | E220359 | BCT67
Ice Maker | Manitowoc | UD0310A-161B | 310262141 | BCT67
Pager | USAMobility | A05CMB5812AA | AE1BXY8VHV | BCT67 |  | 540-4895
Pager | USAMobility | A6D1ADB2313A | ADMFKAF481 | BCT67 |  | 540-4908
Platelet Incubator (Helmer #1) | Helmer | PC900i | 968805 | BCT67 |  | H205291
Platelet Agitator | Helmer | small |  | BCT67
Platelet Incubator (Helmer #2) | Helmer | PC1200i | 100069 | BCT67 |  | H210670
Platelet Agitator | Helmer | large | 14462 | BCT67 |  | H210671
Temp-Check (TMCK 2) | Tropitronics | TC-3 | 312404 | BCT67
Temp-Check (TMCK 1) | Tropitronics | TC-3 | 312403 | BCT67
Heat Sealer (Tubing) | Terumo | 8SE*2002 | 586 | BCT67 | 29021
Hematrax Label printer (offline) | Zebra | ZM400 | 08J102500313 | BCT67 |  | H211390
Hematrax Label printer | Zebra | ZM400 | 08J10052210 | BCT67 |  | H209661
Accn printer 415 | Zebralink | LP2844-Z | 46A051100129 | BCT67
Accn printer 411 | Zebralink | LP2844-Z | 46J091900954 | BCT67
Printek Printer P1 | Printek | 852si | PDE04944 | BCT67
Printek Printer P2 | Printek | 852si | PDE01836 | BCT67

## schedule
|  |  |  | SI # or | QUARTERLY-TSS |  | QUARTERLY-HVAC |  | SEMI-ANNUAL |  | ANNUAL
EQUIPMENT | MANUFACTURER | MODEL # | SERIAL # | CLIN ENG # | LAST | DUE | LAST | DUE | LAST | DUE | LAST | DUE
Cell Washer | Helmer | Ultra CW | 2398 | 28331 | 2010-10-12 | 2011-01-01 |  |  |  |  | 2010-10-12 | 2011-10-01
Cell Washer | Helmer | Ultra CW
Cell Washer | Helmer | Ultra CW
Heat Block | Thermo Scientific | 2001Q | 1951091138770 | 28330 | [6 empty] | 2010-10-12 | 2011-10-01
Heat Block | Thermo Scientific | 2001Q | 1951091241772 | 28332 | [6 empty] | 2010-10-12 | 2011-10-01
Heat Block
Serofuge | Helmer | EBA21 | 0002133-03-00 | 28333 | 2010-10-12 | 2011-01-01 |  |  |  |  | 2010-10-12 | 2011-10-01
Serofuge | Helmer | EBA21 | 0002185-03-00 | 28336 | 2010-10-26 | 2011-01-01 |  |  |  |  | 2010-10-12 | 2011-10-01
Serofuge | Helmer | EBA20 | 0010970-01-00
Compact Blood Refrigerator #4 | Jewett | CT-1 | 59980-297 | TSS004
Compact Blood Refrigerator #8 | Jewett | CT-1 | N20N-616963-NN
Tango | BioTest | Optimo | 9142400397 | 28321 | [6 empty] | 2010-08-01 | 2011-08-01
Stat Spin Express | Iris | SSE3 | 1037M50203987 | 28394
Stat Spin Express | Iris | SSE3 | 1039M50204008 | 28393
Digital Scale | Ohaus | Scout Pro | 7131470421