| Reagents | Supplier | Storage | QC before use? Y/N | Comments Special Instruction |
| --- | --- | --- | --- | --- |
| Erytype S ABD+Rev A1B Plates | BioRad | 2-8°C | Y |  |
| Erytype S ABO Donor Plates | BioRad | 2-8°C | Y |  |
| Erytype S Rh Donor Plates | BioRad | 2-8°C | Y |  |
| Solidscreen II Strip Plates | BioRad | 2-8°C | Y |  |
| Bromelin for Erytype | BioRad | 2-8°C | Y |  |
| MLB2, LISS 50 mL | BioRad | 2-8°C | Y |  |
| AHG SS II 55 mL | BioRad | 2-8°C | Y |  |
| Solidscreen II Control 4mL | BioRad | 2-8°C | Y |  |
| Solidscreen II Control B 4mL | BioRad | 2-8°C | Y |  |
| Solidscreen II Neg Control 4mL | BioRad | 2-8°C | Y |  |
| Cell Mixers | BioRad | RT | N |  |
| Cup, Non Disposable (Suspension) | BioRad | RT | N |  |
| Daily Clean | BioRad | RT | N |  |
| Microside | BioRad | RT | N |  |
| Anti- A,B | BioRad | 2-8°C | Y |  |
| Anti-A | BioRad | 2-8°C | Y |  |
| Anti-B | BioRad | 2-8°C | Y |  |
| Anti-D | BioRad | 2-8°C | Y |  |
| Seraclone Control | BioRad | 2-8°C | Y |  |
| Anti- A1 Lectin | Ortho | 2-8°C | Y |  |
| anti-C | BioRad | 2-8°C | Y |  |
| anti-E | BioRad | 2-8°C | Y |  |
| anti-c | BioRad | 2-8°C | Y |  |
| anti-e | BioRad | 2-8°C | Y |  |
| anti-K | BioRad | 2-8°C | Y |  |
| Anti-Fya | BioRad | 2-8°C | Y |  |
| Anti-Fyb | Ortho | 2-8°C | Y |  |
| Anti-Jka | BioRad | 2-8°C | Y |  |
| Anti-Jkb | BioRad | 2-8°C | Y |  |
| anti-S | BioRad | 2-8°C | Y |  |
| anti-s | BioRad | 2-8°C | Y |  |
| Anti-P1 | BioRad | 2-8°C | Y |  |
| Anti-M | BioRad | 2-8°C | Y |  |
| AHG IgG 10 mL | BioRad/ Immucor | 1-10°C(Immucor) | Y |  |
| Anti-IgG,C3d; Polyspecific | BioRad | 2-8°C | Y |  |
| Anti-C3b, -C3d | Ortho | 2-8°C | Y |  |
| Albumin | Ortho | 2-8°C | Y |  |
| PeG | Immucor | 2-8°C | Y |  |
| Ortho Aby Enhancement Soln. (LISS) | Ortho | 2-8°C | Y |  |
| Biotestcell-3 3X10mL | BioRad | 2-8°C | Y |  |
| Biotestcell-I11 11X4mL | BioRad | 2-8°C | N |  |
| Coombcell E | BioRad | 2-8°C | Y |  |
| Erytype A1 & B, 2/10 mL | BioRad | 2-8°C | Y |  |
| Biotestcell A1 & B 3.0-3.4% | BioRad | 2-8°C | Y |  |
| Biotestcell A2 | BioRad | 2-8°C | Y |  |
| Panocell-16-Immucor | Immucor | 1-10°C(Immucor) | N |  |
| Complement Control Cells | BioRad | 2-8°C | Y |  |
| Ortho Confidence System | Ortho | 2-8°C | Y |  |
| Disp. Cult. Tubes 12x75 mm | Cardinal | RT | N |  |
| Transfer Pipets | Samco Scientific | RT | N |  |
| PBS Solution 10L | Thermo Scientific | RT | N |  |
| PBS Solution 20L | Azer Scientific | RT | N |  |
| 0.9% Sodium Chloride Irrigation | Baxter Healthcare | RT | N |  |
| Bleach | Sysco | RT | N |  |
| Spilfyter Liquid Acid Neutralizer | NPS Corp | RT | N |  |
| Segment Devices | Typenex | RT | N |  |
| Tube caps |  | RT | N |  |
| Kimtechs | Kimberly Clark | RT | N |  |
| Alcohol Preps | MediChoice | RT | N |  |
| Applicator sticks | MediChoice | RT | N |  |
| Bio-Screen Wipes |  | RT | N |  |
| Gauze Pads 3x3 | Kendall | RT | N |  |
| Agglutination Viewer Bulbs |  | RT | N |  |