**Purpose:**

To assure that, when necessary, reagent information is correctly edited.

**Limitations:**

* Do not open the sample loading door or load plates simultaneously with opening the reagent loading door; otherwise a software error may occur.

**Procedure:**

|  |  |  |
| --- | --- | --- |
| **Step** | **Action** | **Related Documents** |
| **A.** | Open the reagent loading door to open the ‘Reagent Loading’ window or touch the reagent chamber icon from the Main Menu. |  |
| **B.** | Touch the reagent rack that corresponds to the reagent requiring editing.   1. The reagent test boxes will be displayed 2. To edit the shelf life of the reagent, touch the ‘Shelf Life’ button.  * The shelf life will be displayed in hours. Seven (7) day on board storage is designated as 168 hours. The TANGO will count down in one (1) hour increments. * A text box will open allowing the edit of the shelf life. Enter the appropriate time remaining.   + The edited shelf life can be reduced, but not increased.  1. To edit the volume remaining in the reagent, touch the ‘Volume in %’ box. Enter the remaining volume in percent. | Liquid Reagent Self Life |
| **C**. | Close the ‘Reagent Loading’ window by closing the reagent door or touching ‘OK’. |  |

**Referenced Documents:**

TANGO User Guide, Version 3.0.2