**Purpose:**

To assure that pictures are printed or transferred to an external drive correctly from the Tango analyzer.

**Required Materials:**

* Printer
* External Drive (Memory Stick)

**Procedure:**

|  |  |  |
| --- | --- | --- |
| **Step** | **Action** | **Related Documents**  |
| **A.** | Insert an external drive into the USB port of the CPU (if sending) |  |
| **B.** | Press the Control and P keys simultaneously. |  |
| **C.** | Press save as (if sending)1. Under save in: choose from drop down box the external drive you are saving on.
2. Under save type as: choose word format from drop down box. Name the file.
3. Press save. Repeat for all pictures. E-mail pictures to Technical Support
 |  |
| **D.** | Press print button (if printing) |  |

**Referenced Documents:**

TANGO User Guide, Version 3.0.2