## Slide 1: Airlift Northwest
Blood Coolers for ALNW -Boeing

## Slide 2: Blood Cooler
Credo Cooler contains
2 units of RBC (O NEG)
2units of liquid plasma (AB or low titer A)
Data logger- tracks temperature of blood products inside the cooler
Each cooler can carry up to 4 units maximum
Cooler with blood must be stored at 1-6C when not taken on flight

## Slide 3: Contents and Packaging
Data Logger
Recording temperature in the Credo Cooler
Data downloaded at HMC TSL
Verifies storage within acceptable range
Allows return of units to inventory (or discard if out of range)

## Slide 4
Loaded
and Locked!

## Slide 5
Each unit will have:
  HMC Transfusion Record
  ALNW Unit Record (orange)

## Slide 6: HMC Transfusion Record
Will need patient medical record # and name
Unit information:
  Donor ABO/Rh
  Component- RBC or Plasma
  Crossmatch- Released Uncrossmatched
  Crossmatch Expiration- Released Uncrossmatched
  Volume- 350 or plasma volume

## Slide 8: ALNW Unit Record
Needed for Transfusion Services to reconcile inventory and update patient records
ALNW staff must complete the following:
  Record patient information
  Removed by
  Time unit removed from cooler
  Physician name

## Slide 10: Used Cooler Return to HMC TSL
Leave in the Credo Cooler
  Unused units
  Transfusion Records
  Unit Cards
  Data Logger
  HMC TSL will process paperwork and units

## Slide 11: Cooler Replacement
Routine schedule- Every Wednesday
If cooler is taken on a life flight and lock on cooler opened, call HMC Transfusion Services for pickup and delivery of next set
For patients coming to HMC, blood coolers can be delivered to Transfusion Services or call for pickup from emergency department

## Slide 12: HMC TSL
Harborview Medical Center
Transfusion Services Lab- BCT 67
325 9th Ave. Seattle WA 98104
  Phone: 206-744-3088
  Fax: 206-744-6530
Contacts
  Dr. John Hess (Medical Director)
  Nina Sen (Manager)
  Lead Technologist