**Purpose:**

To describe the Harborview Medical Center (HMC) Transfusion Services Laboratory (TSL) support of Airlift Northwest transfusion needs.

**Policy:**

TSL is responsible for stocking and maintaining the Credo Coolers at Airlift Northwest. Audit trail for units transfused by ALNW will be completed in Sunquest (SQ).

**Procedure:**

|  |  |  |
| --- | --- | --- |
| **Step** | **Action** | **Related Documents** |
| **Overview** |
| **1** | TS prepares and delivers a Credo Cooler with 2 RBCs and 2 liquid plasma. *Five day plasma may be substituted due to inventory limitations.* |  |
| **2** | Airlift Northwest includes the Credo Cooler in their response based on ALNW policy and procedure. Cooler can be out of refrigeration for 24 hours. |  |
| **3** | Upon return to Airlift Northwest facility or patient delivery to HMC ED, TS is notified to send a replacement Credo Cooler. |  |
| **4** | TS assesses returned cooler inventory via a data logger for return to inventory or quarantine/discard. Transfused unit audit trails are recorded in LIS. |  |
| **5** | Cooler remains refrigerated at ALNW. Every 7 days or product has 2 days remaining before expiration, the Credo Cooler is exchanged for a new cooler. Credo Cooler is validated for 7 days continuous refrigerated storage if unopened. |  |
| **6** | Credo Coolers removed from refrigerated storage are exchanged as soon as possible.Credo Cooler is validated for 24 hours outside of refrigerated storage. |  |
| **6** | Issues related to ALNW will be directed to a TSL Lead or Manager. ALNW will provide a contact person to aid in problem resolution. |  |
| **7** | ALNW chart is on paper and is submitted to HMC ED upon arrival.  |  |
| **8** | Transfusion Reactions occurring inflight will be communicated to TSL upon arrival at HMC. Investigation will be performed per current SOPs. |  |

|  |
| --- |
|  **Credo Cooler Inventory Management** |
| **1** | Select and prepare blood components per SOP. | Using the Credo Series 4 EMT Coolers |
| **2** | Prepare replacement cooler every 7 days **or**:* Cooler that has been removed for patient transport must be replaced
* Cooler that has been opened must be replaced
* Cooler with five day plasma will be replaced 2 days prior to shortest dated product in cooler
 |
| **3** | Transport to ALNW Boeing Field via * 1st choice: ALNW Courier every Wednesday (time to be determined)
* 2nd choice: With ALNW team after delivering patient with Credo Cooler to HMC ED, if time allows.
	+ TSL requires 30 minutes to prepare Credo Cooler
* 3rd choice: FarWest Cab (HMC TSL pays)
* If there is a cooler coming back to TSL:
* Pay for roundtrip.
* FarWest to return with cooler stored at ALNW
 |   |
| **4** | Perform return. | Using the Credo Series 4 EMT Coolers |
| **Processing Returned Blood Products** |
| **1** | Process returned RBCs and plasma per SOP | * Using the Credo Series 4 EMT Coolers
* SQ Blood Status Update
* SQ Blood Location
 |
| **2** | Complete audit trail in SQ for transfused blood products:* Admitted to HMC: current SOPs
* **Not** Admitted to HMC: See Table B
 | SQ Blood Order Processing |
| **3** | * Complete Blood Order Processing:
* Process the ER and/or TFFP order(s) per SOP
* Transfused units do not need to be moved back to the “H” location in order to allocate and issue in SQ BOP.
* Perform Blood Product Issue:
* Issue Date/Time: written on card in TIME OUT or provided by ALNW
* Issued to: ALNW
* Issue Comments: none required
* Complete paperwork:
* Send post Transfusion Record to HIM.
* Staple unit cards and original Transfusion Record to Trauma/MTP paperwork and/or Credo Cooler Log.
* *NOTE: ALNW has a separate transfusion record. ALNW will return all Transfusion Records to TSL.*
* Record review on the top right corner of paperwork.
* Discard unit segments from the Blood Location Rack.
 | SQ Blood Order Processing |

**Table A: Credo Cooler Quantities**

|  |  |  |
| --- | --- | --- |
|  **Quantity** | **Product**  | **ABO/Rh** |
| 2  | RBC | ONEG |
| 2 | Plasma | Low titer group A or group AB |

**Table B: Creating ALNW Patient Record in Sunquest (**Patient not admitted to HMC)

|  |
| --- |
| **Creating ALNW Patient Record in Sunquest**  |
| **Step** | **Action:** |
| **1** | * Log into Sunquest.
* Determine patient has not been admitted to HMC utilizing Blood Bank Inquiry.
	+ Do not create a new patient until potential existing patients have been ruled out.
 |
| **2** | * Perform Order Entry
* HID begins with **ALNW-**
* Click **SEARCH;**
* Click **CREATE;** Pop-up window - note a digit is added to the **ALNW-:** this is the HID number
* Patient Demographics will auto fill:
	+ Last Name: **UNREGISTERED**
	+ First Name: **AIRLIFT**
	+ Middle Name: not used
	+ Date of Birth: 00/00/0000
	+ Gender: UNKNOWN
* Billing information will auto fill:
	+ Account #: 0
	+ Event Type: OST = OS No Test/No Bill
	+ Event Status: Active
	+ Start Date: current date
* **SAVE**
* Using **ALNW Unit Card** or other source of transfusion information:
	+ Collection Date: Date from card
	+ Collection Time: Time from card or “U” (unknown)
	+ Received Date/Time: written on card in TIME OUT or provided by ALNW
* Diagnosis: NDX
* Battery(ies):
	+ RBCs: **ER**
	+ Plasma: **TFFP**
* Attach Accession sticker to back of appropriate Unit Card(s) and/or paperwork
* Staple Unit Card to original and post Transfusion Records.
* Store in Trauma Notebook.
 |

**References:**

Standards for Blood Banks and Transfusion Services, Current Edition. American Association of Blood Banks. AABB Press, Bethesda, MD.