## Rainin
PIPETTE CALIBRATION WORKSHEET |  |  |  |  | March | June | September | December
This program calculates the mean, standard deviation, C.V. and |  |  |  | calibration:
% Error for 5 weighing data points. |  |  |  | annual cleaning:
Performed By: ____________________ Date: ___________
Temp of H2O |  |  | Thermometer Used: FLUKE 52 II
Density of H2O |  |  | Calibration Date: Reviewed By: _____________________ Date: ________________
Pipette | Rainin Pipet-Lite L-1000XLS G1360113T | Rainin Pipet-Lite L-1000XLS G1360113T |  | Rainin Pipet-Lite L-100XLS H1369199T |  | Repeat Section if Needed | Repeat Section if Needed | Action taken if repeat needed: please fill out repeat section and document if maintenance or service was necessary to obtain acceptable results.
Volume (uL) | 500 | 1000 |  | 100
Theoretical Vol | 0 | 0 | 0 | 0 | 0 | 0 | 0
Weight
1.)
2.) | [8 empty] | Water Density Table
3.) | [8 empty] | Temp (C) | Density of H20
4.) | [8 empty] | 18 | 0.9986
5.) | [8 empty] | 18.5 | 0.9985
Mean | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | 19 | 0.9984
S.D | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | 19.5 | 0.9983
C.V | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | 20 | 0.9982
Measured Volume | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | 20.5 | 0.9981
Accuracy | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | 21 | 0.998
% Error | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | 21.5 | 0.9979
Pass or fail | If the % Error is > or = +/- 3%, repeat or remove pipette from service. | [7 empty] | 22 | 0.9978
[9 empty] | 22.5 | 0.9977
[9 empty] | 23 | 0.9975
Pipette | [8 empty] | 23.5 | 0.9974
Volume (ul) | [8 empty] | 24 | 0.9973
Theoretical Vol | 0 | 0 | 0 | 0 |  |  |  |  | 24.5 | 0.9972
Weight | [8 empty] | 25 | 0.997
1.) | [8 empty] | 25.5 | 0.9969
2.) | [8 empty] | 26 | 0.9969
3.) | [8 empty] | 26.5 | 0.9966
4.) | [8 empty] | 27 | 0.9965
5.) | [8 empty] | 27.5 | 0.9964
Mean | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  |  |  | 28 | 0.9962
S.D. | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  |  |  | 28.5 | 0.9961
C.V. | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  |  |  | 29 | 0.9959
Measured Volume | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  |  |  | 29.5 | 0.9958
Accuracy | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  |  |  | 30 | 0.9956
% Error | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  |  |  | 30.5 | 0.9955
F3032, Version 1.0, May 2017

## Finnpipettes (hidden)
PIPETTE CALIBRATION WORKSHEET |  |  |  |  | February | June | December
This program calculates the mean, standard deviation,
C.V. and % Error for 5 weighing data points.
Temp of H2O |  |  | Maintenance required in Feb. (10ml), June (5ml), Dec (1ml)
Density of H2O | #N/A |  |  |  |  | Please Initial and Date here to indicate if routine maintenance has
been completed___________
Pipette | Finnpipette | Finnpipette | Finnpipette | Finnpipette
volume (mL) | 1 | 5 | 10
Theoretical Volume | #N/A | #N/A | #N/A | #N/A
Weight
1.)
2.)
3.)
4.)
5.)
Mean | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
S.D | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C.V (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Measured Volume | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Accuracy | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
% Error | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
pass or fail | If the % error=>+/- 3% try again or remove pipette from service
LEAD REVIEWED________________
Water Density Table
|  | Temp (C) | Density of H20
|  | 18 | 0.9986
|  | 18.5 | 0.9985
|  | 19 | 0.9984
|  | 19.5 | 0.9983
|  | 20 | 0.9982
|  | 20.5 | 0.9981
|  | 21 | 0.998
|  | 21.5 | 0.9979
|  | 22 | 0.9978
|  | 22.5 | 0.9977
|  | 23 | 0.9975
|  | 23.5 | 0.9974
|  | 24 | 0.9973
|  | 24.5 | 0.9972
|  | 25 | 0.997
|  | 25.5 | 0.9969
|  | 26 | 0.9969
|  | 26.5 | 0.9966
|  | 27 | 0.9965
|  | 27.5 | 0.9964
|  | 28 | 0.9962
|  | 28.5 | 0.9961
|  | 29 | 0.9959
|  | 29.5 | 0.9958
|  | 30 | 0.9956
|  | 30.5 | 0.9955

## Gilson Microman (hidden)
PIPETTE CALIBRATION WORKSHEET | [8 empty] | Gilson #1 | Gilson #2 | Repeater #1 |  | Repeater #3
This program calculates the mean, standard deviation,CV and % Error | [7 empty] | Jan |  |  |  | Feb
for 5 weighing data points. | [7 empty] | May |  |  |  | June
[8 empty] | Sept |  |  |  | Oct
Temp of H2O
Density of H2O | #N/A
Pipette | Gilson Microman S12710M | Gilson Microman S12710M | Gilson Microman S12723M | Gilson Microman S12723M |  | Eppendorf Repeater Plus #1 115198A | Eppendorf Repeater Plus #1 115198A | Eppendorf Repeater Plus #3 201855Z | Eppendorf Repeater Plus #3 201855Z | Repeat if needed | Action taken if repeat needed: please fill out repeat section and document if maintenance or service was necessary to obtain acceptable results.
volume (uL) | 10 | 25 | 10 | 25 |  | 500 | 1000 | 500 | 1000
Theoretical Volume | #N/A | #N/A | #N/A | #N/A |  | #N/A | #N/A | #N/A | #N/A | #N/A
Weight
1.)
2.)
3.)
4.)
5.)
Mean | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
S.D | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C.V (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Measured Volume | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Accuracy | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | Meets QC | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
% Error | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
pass or fail | If the % error=>+/- 3% try again or remove pipette from service
Lead Reviewed ____________
Water Density Table
|  |  | Temp (C) | Density of H20
|  |  | 18 | 0.9986
|  |  | 18.5 | 0.9985
|  |  | 19 | 0.9984
|  |  | 19.5 | 0.9983
|  |  | 20 | 0.9982
|  |  | 20.5 | 0.9981
|  |  | 21 | 0.998
|  |  | 21.5 | 0.9979
|  |  | 22 | 0.9978
|  |  | 22.5 | 0.9977
|  |  | 23 | 0.9975
|  |  | 23.5 | 0.9974
|  |  | 24 | 0.9973
|  |  | 24.5 | 0.9972
|  |  | 25 | 0.997
|  |  | 25.5 | 0.9969
|  |  | 26 | 0.9969
|  |  | 26.5 | 0.9966
|  |  | 27 | 0.9965
|  |  | 27.5 | 0.9964
|  |  | 28 | 0.9962
|  |  | 28.5 | 0.9961
|  |  | 29 | 0.9959
|  |  | 29.5 | 0.9958
|  |  | 30 | 0.9956
|  |  | 30.5 | 0.9955

## Backup pipettes (hidden)
PIPETTE CALIBRATION WORKSHEET | [5 empty] | Gilson#1 | Gilson #2 | Gilson #3 | Eppendorf#2 | Eppendorf#1
This program calculates the mean, standard deviation,CV and % Error | [5 empty] | March | July | November | May | January
for 5 weighing data points. | [9 empty] | May
September
Temp of H2O | 23 |  | Each pipette needs to be checked yearly
Density of H2O | 0.9975
Pipette | Gilson #1: J21352B | Gilson #1: J21352B | Gilson #2: R68859H | Gilson #2: R68859H | Gilson #3: R524705-Requires Finn tips | Gilson #3: R524705-Requires Finn tips | Eppendorf repeater #2 | Eppendorf repeater #2 | Eppendorf Repeater Plus #1 10.0mL | Eppendorf Repeater Plus #1 10.0mL | Repeat section if needed
volume (uL) | 500 | 1000 | 500 | 1000 | 100 | 200 | 500 | 1000 | 500 | 1000
Theoretical Volume | 0.49875 | 0.9975 | 0.49875 | 0.9975 | 0.09975 | 0.1995 | 0.49875 | 0.9975 | 0.49875 | 0.9975 | 0
Weight
1.)
2.)
3.)
4.)
5.)
Mean | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
S.D | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
C.V (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Measured Volume | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Accuracy | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
% Error | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
pass or fail | If the % error=>+/- 3% try again, if still out, perform maintenance and repeat.
Action taken if repeat needed: please fill out repeat section and document if maintanence was required for acceptable performance!! If unable to pass criteria, the pipet should be removed from backup service and replaced with a "reserved" pipet.
Lead Reviewed ____________
Water Density Table
|  |  | Temp (C) | Density of H20
|  |  | 18 | 0.9986
|  |  | 18.5 | 0.9985
|  |  | 19 | 0.9984
|  |  | 19.5 | 0.9983
|  |  | 20 | 0.9982
|  |  | 20.5 | 0.9981
|  |  | 21 | 0.998
|  |  | 21.5 | 0.9979
|  |  | 22 | 0.9978
|  |  | 22.5 | 0.9977
|  |  | 23 | 0.9975
|  |  | 23.5 | 0.9974
|  |  | 24 | 0.9973
|  |  | 24.5 | 0.9972
|  |  | 25 | 0.997
|  |  | 25.5 | 0.9969
|  |  | 26 | 0.9969
|  |  | 26.5 | 0.9966
|  |  | 27 | 0.9965
|  |  | 27.5 | 0.9964
|  |  | 28 | 0.9962
|  |  | 28.5 | 0.9961
|  |  | 29 | 0.9959
|  |  | 29.5 | 0.9958
|  |  | 30 | 0.9956
|  |  | 30.5 | 0.9955