## Serial
HMC TSL Critical Equipment List 1302-8
EQUIPMENT | MANUFACTURER | MODEL # | SERIAL # | Location | SI # | HMC #
Cell Washer | Helmer | Ultra CW | 0002398 | BCT67 | 28331 | H209901
Cell Washer | Helmer | Ultra CW | 0002449 | BCT67 | 28656
Cell Washer | Helmer | Ultra CW | 0002482 | BCT67 | 28652
Cell Washer | Helmer | Ultra CW | 3781 | BCT67 | 26437
Heat Block C | Thermo Scientific | 2001Q | 1951091138770 | BCT67 | 28330
Heat Block D | Thermo Scientific | 2001Q | 1951091241772 | BCT67 | 28332
Heat Block A | Lab Net A | D1100 | SA1B09263 | BCT67 | 28958
Heat Block B | Lab Net B | D1100 | SA1B09261 | BCT67 | 27414
Serofuge | Hettich | EBA21 | 0002133-03-00 | BCT67 | 28333
Serofuge | Hettich | EBA21 | 0002222-03-00 | BCT67 | 28653
Serofuge | Hettich | EBA20 | 0010756-01-00 | BCT67 | 27842
Serofuge | Hettich | EBA200 | 002263-03 | BCT67 | 43383
Tango | Bio-Rad | Infinity | 4230000151 | BCT67 | 23002 | H214663
Stat Spin Express | IRIS | Express 3 M502-22 | 1037M50203987 | BCT67 | 28394
Stat Spin Express | IRIS | Express 3 M502-22 | 1039M50204008 | BCT67 | 28393
Digital Scale | Ohaus | Scout Pro | 7131470421 | BCT67 | 28655
Plasma Thawer (T1) | Helmer | DH8 | 996626 | BCT67 | 27845 | H209895
Thawer Digital Thermometer | Helmer | Attached to SN 996626 | 992671 | BCT67
Plasma Thawer (T2) | Helmer | DH8 | 993281 | BCT67 | 28233 | H213052
Thawer Digital Thermometer | Helmer | Attached to SN 993281 | 996505 | BCT67
Microwave Plasma Thawer | ARKBio | 72A | 72A614245 | BCT67 | 31133 | H213556
Microwave Plasma Thawer | ARKBio | 72A | 72A614244 | BCT67 | 31132 | H213557
Ultra Low Freezer (#3) | VWR | 5656 | 824308-538 | BCT67 |  | H210862
Ultra Low Freezer (#2) | VWR | 5656 | 813026-106 | BCT67 |  | H205377
Ultra Low Freezer (#1) | VWR | 5656 | 425231-634 | BCT67 |  | H211843
Double Door Refrigerator (R1) | Helmer | IB245 | 996711 | BCT67 |  | H-209897
Plasma Freezer (F2) | Helmer | IPF120-4 | 996770 | BCT67 |  | H-209899
Plasma Freezer (F1) | Helmer | IPF120-8 | 996771 | BCT67 |  | H-209898
Reagent Refrigerator (R2) | Helmer | ILR125 | 996609 | BCT67 |  | H-209900
Blood Bank Refrigerator (w/Integral Monitor) (R3) | Jewett | BBR37-1B20 | T27S-129542-VS | Refrigeration Shop |  | H205292
Blood Bank Refrigerator (w/Integral Monitor) (R4) | Jewett | BBR17-1B | N10L-512398-NL | BCT67 |  | H173086
Blood Bank Refrigerator (R5) | Helmer | iB125 | 2024478 Ver D | BCT67 |  | H214520
Blood Bank Refrigerator (R6) | Helmer | iB125 | 2024479 Ver D | BCT67 |  | H214521
Blood Bank Refrigerator (R7) | Helmer | iB125 | 2025058 Ver D | BCT67 |  | H214522
Blood Bank Refrigerator (R8) | Helmer | iB125 | 2025059 Ver D | BCT67 |  | H214523
ED Refrigerator | Helmer | iB111 | C88-214 | ED Hallway
Chart Recorder (Portable #4) | Jewett | 8ER-1B | DR97-R637 | BCT67
Chart Recorder (Portable #3) | Dickson | KT621 | 11147056 | BCT67
Chart Recorder (Portable #6) | Jewett | 8ER-1B | DR98-R1029 | BCT67
Portable Ref #3 | Jewett | CT-1 | 61711-298 | BCT67 |  | H213220
Portable Ref #4 | Jewett | CT-1 | 59980-297 | BCT67 |  | H167078
Portable Ref #6 | Jewett | CT-1 | 61876-398 | BCT67 |  | H167788
Temp Monitor (portable #6) | Jewett | DTPM-1000-1B | D30001 | BCT67
Temp Monitor (portable #3) | Jewett | DTPM-1000-1B | D21128 | BCT67
Temp Monitor (Portable #4) | Jewett | DTPM-1000-1B | D30653 | BCT67
Microscope | Olympus | BH2 | NAEP54261 | BCT67 |  | H146448
Military time clock | Acroprint | 175 | 2532735 | BCT67
Military time clock | Acroprint | 175 | 2545850 | BCT67
Military time clock | Acroprint | ES700 | E220359 | BCT67
Military Time Clock | AcroPrint | ES700 | 0101820005120183KS | BCT67
Ice Maker | Manitowoc | UD0310A-161B | 310262141 | BCT67
Pager | USAMobility | A05CMB5812AA | AE1BXY8VHV | BCT67 |  | 540-4895
Pager | USAMobility | A6D1ADM2313A | ADMFPWE356 | BCT67 |  | 540-4908
Pager (Ed Fridge) | Unication | A6D1ADM2313A | ADMFKYE690 | BCT67
Pager (TempTrak) | Unication | A6D1ADM2313A | ADMFPYB930 | BCT67
Platelet Incubator (Helmer #1) | Helmer | PC900i | 968805 | BCT67 |  | H205291
Platelet Incubator (Helmer #2) | Helmer | PC1200i | 100069 | BCT67 |  | H210670
Platelet Agitator | Helmer | PC1200i | 100069 | BCT67 |  | H210671
Temp-Check (TMCK 2) | Tropitronics | TC-3 | 0312404 | BCT67
Temp-Check (TMCK 1) | Tropitronics | TC-3 | 0312403 | BCT67
Heat Sealer (Tubing) | Terumo | 8SE*2002 | 0586 | BCT67 | 29021
Hematrax Label printer | Zebra | ZM400 | 08J10052210 | BCT67 |  | H209661
Digitrax | Zebra | ZT410 |  | BCT67 |  | 1335509
Digitrax | Zebra | ZT410 |  | BCT67 |  | 1335510
Digitrax | Zebra | ZT410 |  | BCT67 |  | 1335511
Accn printer 415 | Zebra | LP2844-Z | 46A051100129 | BCT67
Accn printer 411 | Zebra | LP2844-Z | 46J091900954 | BCT67
Label Printer 412 | Zebra | LP2844-Z | 46J093000286 | BCT67
Label Printer 410 | Zebra | LP2844-Z | 46A080600377 | BCT67
Printer (Tango Bench) | HP | Laserjet 600 M603 CE995A | CNBCD3Q052 | BCT67
Printer (under Tango) | HP | Laserjet P1102w | VND3R66826 | BCT67
Ricoh Printer/scanner/fax | Ricoh | Aficio SP 5210SR | C86066160 | BCT67
Printek Printer P1 | Printek | 852si | PDE04944 | BCT67
Printek Printer P2 | Printek | 852si | PDE01836 | BCT67 |  | H209973
Portable Refrigerator | Roemer | HEMOROAM15XL | HR15XL-313 | BCT67 |  | H215721
Portable Refrigerator | Roemer | HEMOROAM15XL | HR15XL-314 | BCT67 |  | H215722
Portable Refrigerator | Roemer | HEMOROAM15XL | HR15XL-315 | BCT67 |  | H215723
Portable Refrigerator | Roemer | HEMOROAM15XL | HR15XL-316 | BCT67 |  | H215724
Portable Refrigerator | Roemer | HEMOROAM25XL | HR25-202 | BCT67 |  | H215725
Portable Refrigerator | Roemer | HEMOROAM25XL | HR25-204 | BCT67 |  | H215726
Current as of 11/17/20