| Reagents | Supplier | Storage | QC before use? Y/N | Comments Special Instruction |
| --- | --- | --- | --- | --- |
| Erytype S ABD+Rev A1B Plates | BioRad | 2-8°C | Y |  |
| Erytype S ABO Confirm Plates | BioRad | 2-8°C | Y |  |
| Erytype S Rh Donor Plates | BioRad | 2-8°C | Y |  |
| Solidscreen II Strip Plates | BioRad | 2-8°C | Y |  |
| Bromelin for Erytype | BioRad | 2-8°C | Y |  |
| MLB2, LISS 50 mL | BioRad | 2-8°C | Y |  |
| AHG SS II 55 mL | BioRad | 2-8°C | Y |  |
| Solidscreen II Control 4mL | BioRad | 2-8°C | N |  |
| Solidscreen II Control B 4mL | BioRad | 2-8°C | N |  |
| Solidscreen II Neg Control 4mL | BioRad | 2-8°C | N |  |
| Cell Mixers | BioRad | RT | N |  |
| Splash Bowl/Cup, Suspension | BioRad | RT | N |  |
| Microside | BioRad | RT | N |  |
| Anti- A,B | BioRad | 2-8°C | Y |  |
| Anti-A | BioRad | 2-8°C | Y |  |
| Anti-B | BioRad | 2-8°C | Y |  |
| Anti-D | BioRad | 2-8°C | Y |  |
| Seraclone Control | BioRad | 2-8°C | Y |  |
| Anti- A1 Lectin | Ortho | 2-8°C | Y |  |
| Anti-C | BioRad | 2-8°C | Y |  |
| Anti-E | BioRad | 2-8°C | Y |  |
| Anti-c | BioRad | 2-8°C | Y |  |
| Anti-e | BioRad | 2-8°C | Y |  |
| Anti-K | BioRad | 2-8°C | Y |  |
| Anti-Fya | BioRad | 2-8°C | Y |  |
| Anti-Fyb | Ortho | 2-8°C | Y |  |
| Anti-Jka | BioRad | 2-8°C | Y |  |
| Anti-Jkb | BioRad | 2-8°C | Y |  |
| Anti-S | BioRad | 2-8°C | Y |  |
| Anti-s | BioRad | 2-8°C | Y |  |
| Anti-P1 | BioRad | 2-8°C | Y |  |
| Anti-Lea | Quotient | 2-80C | Y |  |
| Anti-Leb | Quotient | 2-80C | Y |  |
| Anti-M | BioRad | 2-8°C | Y |  |
| Anti-Kpa | Biorad | 1-8°C | Y |  |
| Anti-Cw | Quotient | 2-8°C | Y |  |
| AHG IgG 10 mL | BioRad/ Ortho | 2-8oC | Y |  |
| Anti-IgG,C3d; Polyspecific | BioRad | 2-8°C | Y |  |
| Anti-C3b, -C3d | Ortho | 2-8°C | Y |  |
| Albumin | Ortho | 2-8°C | Y |  |
| PeG | Immucor | 2-8°C | Y |  |
| Ortho Aby Enhancement Soln. (LISS) | Ortho | 2-8°C | Y |  |
| Biotestcell-3 3X10mL | BioRad | 2-8°C | Y |  |
| Biotestcell-I8 11X4mL | BioRad | 2-8°C | N |  |
| Coombcell E | BioRad | 2-8°C | Y |  |
| Erytype A1 & B, 2/10 mL | BioRad | 2-8°C | Y |  |
| Biotestcell A1 & B 3.0-3.4% | BioRad | 2-8°C | Y |  |
| Biotestcell A2 | BioRad | 2-8°C | Y |  |
| Panocell-16 | Immucor | 1-10°C | N |  |
| ALBAcyte Panel Treated and Untreated | Quotient | 2-8C | N |  |
| ALBAsure Papain Solution Kit | Quotient | 2-8C | N |  |
| Complement Control Cells | Quotient | 2-8°C | Y |  |
| ALBAsure QC Kit | Quotient | 2-8°C | N |  |
| Disp. Cult. Tubes 12x75 mm | Cardinal | RT | N |  |
| Transfer Pipets | Samco Scientific | RT | N |  |
| PBS Solution 10L | Cardinal Health | RT | N |  |
| Blood Bank Saline (Unbuffered) 1G | Cardinal Health | RT | N |  |
| Sodium Hydroxide 0.5N | VWR Chemicals | RT | N |  |
| Bleach | Sysco | RT | N |  |
| Isolyser Isosorb 13000 | Microtek | RT | N |  |
| Segment Devices | Typenex | RT | N |  |
| Tube caps | Market Lab | RT | N |  |
| Kimtechs | Kimberly Clark | RT | N |  |
| Alcohol Preps | MediChoice | RT | N |  |
| Applicator sticks | MediChoice | RT | N |  |
| Bio-Screen Wipes | SPS | RT | N |  |
| Gauze Pads 3x3 | Kendall | RT | N |  |
| Agglutination Viewer Bulbs | Cardinal | RT | N |  |
| Helmer Cleanbath | Helmer | RT | N |  |

Updated 11/17/2020