Purpose:

To provide instructions for evaluation and acceptance of patient samples for testing in the Transfusion Service at HMC.

Policy:

All patient samples sent for testing to the HMC Transfusion Service will be evaluated for acceptance using the criteria described in this policy, to include sample type, volume and condition; compliance with labeling requirements, and comparison to existing patient computer records. Failure to meet all requirements will result in rejection of the sample and request for redraw. Any deviations for specific protocols or collections will be defined in the applicable process SOP.

Procedure:

| Step | Action | Related Documents |
| --- | --- | --- |
| Sample and Requisition |  |  |
| 1 | Check Sample Tube Type and Volume: - Pink top EDTA tube –Preferred sample - Lavender or Purple top EDTA tube—Acceptable sample - Red top CLOT tube—Acceptable for manual testing only. - See Table A for acceptability of capillary and/or microtubes for pediatric patients - Samples from patients with a high hematocrit will need to have the plasma volume evaluated. - NOTE: NO OTHER TUBE TYPES ARE ACCEPTABLE Verify Sample signatures: - Two signatures/initials/tech IDs on tube - Signatures are from two different personnel Verify Sample Draw Date and Time - Draw date on specimen must include the month and day. - Draw Time on sample must be in reasonable agreement. - Date may be indicated on the sample by circling Date of Service on the ADT label. - ABO/Rh confirmation sample and TSCR sample were collected at different times. Optional but if present must match exactly: - Year of collection - If year does not match or is incorrect on a pediatric patient, refer to Medical Director | Table A: Specimen Requirements Deviation Approval Form Quality Policy: Pre-analytic Sample Requirements and Testing |
| Step | Action | Related Documents |
| 2 | Requisition: - ADT labeled samples that have not been ordered in Epic require a requisition to accompany the sample. - Accompanying request must be received at the same time as the specimen. - ADT labeled samples that have been ordered in Epic do not require a requisition to accompany the sample. These orders can be found by searching Gen Lab (ORM). - Sunquest (SQ) labeled samples do not require a requisition - Requisition will accompany TSCREX SQ labeled samples with the questions answered In addition, the requisition should include the following information: - Diagnosis and/or purpose of testing. - Ordering physician. - Tests ordered. | Transfusion Services Testing and Blood Product Order Form CPOE generated test requisition Sunquest: Order Entry Process Prenatal Clinic Sample Process Preadmission Requests for Blood Products |
| 3 | Verify Patient Identifiers With the exception of the presence of a patient’s middle name or initial, the following patient identifiers must match exactly on sample label and requisition/order: - Patient’s first name, last name, and generational title. - Medical Record Number (MRN) Optional but if present must match exactly: - Date of Birth Presence of a middle name or initial: - If the middle name or initial is present on one document, either must be present on all documents. - It is acceptable to have a middle name on one and only a middle initial on the other, providing the middle name begins with the same letter used for the middle initial. For example: Requisition/SQ record; Patient Sample; Acceptability. Center, Harbor Medical; =; Center, Harbor Medical; Acceptable. Center, Harbor M.; =; Center, Harbor M.; Acceptable. Center, Harbor M.; =; Center, Harbor Medical; Acceptable. Center, Harbor M.; ≠; Center, Harbor; Unacceptable. Center, Harbor Medical; ≠; Center, Harbor; Unacceptable. Center, Harbor Medical; ≠; Center, Harbor T.; Unacceptable. | Transfusion Services Testing and Blood Product Order Form Nursing Procedure: Blood Transfusion: Obtaining Blood Sample for Compatibility Testing (Type & Screen) and Confirmation ABO/Rh Sample Testing CPOE generated test requisition Prenatal Clinic Sample Process |
| Sunquest Demographics |  |  |
| 4 | Verify Sunquest - Demographic information on the request and sample label match Sunquest Blood Administrative Data exactly. | Updating Patient Demographics in Sunquest |
| Sample |  |  |
| 5 | Check contents following centrifugation: - All samples will be spun and evaluated for plasma volume adequacy. - Visible hemolysis will be processed at the manual bench. - Moderate to gross lipemia will be processed at the manual bench. - Contamination with I.V. fluids is unacceptable for testing. | Sample Rejection Process |
| Step | Action | Related Documents |
| Rejection |  |  |
| 6 | The sample is rejected if: - Above labelling requirements are not met. - Further investigation does not resolve the discrepancy - Example: Ask the nurse to read and verify the patient’s name/MRN as it appears on the armband. - If the armband is discrepant from the request and sample label, the sample must be rejected. - Ask the nurse to draw a new confirmation sample. - Any doubt exists that sample was not labeled at the bedside. | Sample Rejection Process |
| 7 | - Errors in patient identification information that are discovered after the sample has been tested require a new, correctly labeled specimen to be sent as a confirmation specimen (e.g. the spelling of the patient name is changed). - Any testing that has been done on the mislabeled sample will be credited and the results canceled. | Canceling Orders and Correcting Results in Sunquest |

Table A: TSL Specimen Requirements:

For Type and Screen/Type and Crossmatch

| Patient Age and/or Weight | Specimen Size |
| --- | --- |
| <6 kg (< 4 months old) | ≥ 1 ml in a 3ml EDTA lavender top tube OR 2 EDTA lavender or plain red top microtubes, collected at the same time |
| 6 - 19 kg (4 months - 6 years old) | 1 3ml EDTA lavender top tube |
| ≥ 20 kg (>6 years old) | 1 6ml EDTA pink or purple top tube OR 1 6-10ml red top tube, plain |

For ABRH, DAT, and/or ABRH2 Testing: Reduced sample volume is acceptable

| Patient Age and/or Weight | Specimen Size |
| --- | --- |
| <20 kg (≤ 6 year old) | In addition to the above table, Capillary tubes are acceptable. |
| > 20 kg (>6 years old) | 1 3-6ml EDTA pink, purple, or lavender top tube OR 1 6-10ml red top tube, plain |

References:

Standards for Blood Banks and Transfusion Services, Current Edition, AABB. Bethesda, MD.

Roback J (ed). Technical Manual, Current edition. AABB Press, Bethesda, MD.