**Cooler ID**: **Date**: **Tech ID**:

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | **Red Cell Compartment** | | **Plasma Compartment** | | **Platelet Compartment** | |
| **Minimum Payload** | **Maximum Payload** | **Minimum Payload** | **Maximum Payload** | **Minimum Payload** | **Maximum Payload** |
| Data Logger Serial Number |  |  |  |  |  |  |
| Length of time data logger temperature between 1-6C? |  |  |  |  |  |  |
| Temptrak room temperature between 20-24C  Yes or No |  |  |  |  |  |  |
| Does Cooler maintain temperature (1-6C) for atleast 4 hours  Yes or No |  |  |  |  |  |  |

Cooler is valid for use until: