## Slide 1
Injury & Illness Prevention Program
(IIPP)

## Slide 2: Injury and Illness

## Slide 3: Not allowed in the lab
Injury and Illness
Eating
Applying
Makeup
DRINKING
Inserting Contacts

## Slide 4: Lab Footwear
While working in the lab, only closed-toed, flat shoes must be worn at all times (i.e. no high-heeled shoes or sandals)

## Slide 5: TRASH CANS
Red
  Biohazard Waste (SHARPS)
Regular
  All others
Blue
  Recycle
Injury and Illness

## Slide 6: First Aid Kits
First aid kits are located throughout the building for all employees to use. All first aid kits are checked and restocked on a monthly basis.
Injury and Illness

## Slide 7: Red Biohazard Waste Containers
Located throughout the lab.
Keep covered except when in use.
TCI will dispose of this waste, once a week.
Do not put sharps in these bags.
Injury and Illness

## Slide 8: SHARPS Containers
These RED containers are located throughout the lab.
Fill only ¾ full
Tape Shut & Date
TCI will pick up
Never re-enter once the container is sealed.
Injury and Illness

## Slide 9: Hazard Communication

## Slide 10: Internal Disaster
Fire
Computer failure
Medical emergency
Power failure
Phone failure
Hazard Communication

## Slide 11: External Disaster
Civil disturbance
Earthquake
Flood
Hurricane
Hazard Communication

## Slide 12: Equipment Monitoring
Employees must do their part in notifying Facilities or Safety about real or potential problems.
Each Department is responsible for the maintenance of their own equipment.
Hazard Communication

## Slide 13: Equipment Monitoring
Look/Listen for…………
Buzzing
Faulty
Wires
Tingling
Hazard Communication

## Slide 14: Tagging/repairing broken Laboratory equipment
Records will be kept on broken and/or damaged equipment, by the individual departments to be shown upon demand to employees, supervisors, safety team or inspectors.
Hazard Communication

## Slide 15: Safety Hoods
Checked once per year by a licensed company.
To ensure air flow and draw are performing up to standards
The hoods will have stickers attached with inspection due dates.
Hazard Communication

## Slide 16: CombiMatrix Safety Committee
All accidents will
be discussed and
reviewed
by the Safety
Committee.
Random accidents will be reviewed with supervisor and victim.
Trends will be reviewed, identified and corrected by the Safety Committee.
The Safety Committee will meet monthly.
Safety Committee:
Justin – Safety Officer
Lori
Bruce
Aria
Gerald

## Slide 17: Safety Inspections
Safety checks will be performed monthly and reviewed by the Quality Management team.
Signed copies of the checks and audits will be kept on file for review.
Safety audits will be performed quarterly and reviewed by the Quality Management team.

## Slide 18: Where to go for additional help
Web sites:
    http://www.msdsonline.com
    http://www.cdc.gov/niosh
    http://www.fireextinguisher.com
    http://www.practicingsafescience.org/
Safety Manager: Justin Johnson
Phone: 949.255-1579 internal ext. 452
Email: jjohnson@combimatrix.com

## Slide 19: You have successfully completed “Combimatrix IIPP Training”!