## Slide 1: Safety Quiz 2018

## Slide 2: Incident Command Team
The rationale for Emergency Management Planning is to allow NSH to prepare for the potential emergencies that fall on a continuum from disruptive to disastrous so that adverse events can be reduced as much as possible.
Any activity that requires an Emergency Management response would be managed through an Incident Command Team. This team would be activated on site to coordinate and oversee all response activities.

## Slide 3: Hazard Vulnerability Analysis
The assessment used to used to pro-actively identify potential hazards, threats, and adverse events and assess their impact on the care, treatment, and services provided to our patients is called the Hazard Vulnerability Analysis (HVA). This process is designed to assist our hospital in gaining a realistic understanding of our vulnerabilities in order to help us mitigate risks. Our hospital Safety and Security Officer has the master HVA document.

## Slide 4: Emergency Operations Plan
The hospital's emergency plan is the Emergency Operations Plan located in Lucidoc.

## Slide 5: Code Pink/Purple/Amber
During the event of a Code Pink, Purple or Amber, the laboratory has the responsibility of monitoring two areas: 1)hallway in front of the lab and 2)the rear stairwell and exit in the back of the lab

## Slide 6: Sprinkler/Ceiling Clearance
The minimum clearance from the sprinkler head deflector (the part of the sprinkler closest to you), which must be maintained in storage areas to ensure the sprinkler system is able to develop a full spray pattern is 18 inches. The lab has a yellow line on the wall in the storage room as a visual where nothing should be stored above that line.

## Slide 7: Fire Extinguisher
When operating a portable fire extinguisher, remember the acronym P.A.S.S:
Pull Pull the pin out from the top while holding the extinguisher upright. The pin is present to keep handle from being squeezed inadvertently. Don’t squeeze the handle when pulling the pin, as it may lock the pin in place.
Aim Unclip the hose if necessary and point the nozzle at the base of the fire.
Squeeze Press the handle to discharge the extinguishing agent. To stop, release the handle.
Sweep Sweep the nozzle back and forth to spread the agent on the base of the flames and blanket the source of fire. Even after a fire appears to be extinguished it may re-ignite, so be watchful.

## Slide 8: Small Electrical Equipment
Fans are not allowed in the laboratory, unless brought in by Engineering during an extenuating circumstance.
Space heater, toaster ovens, and/or open flames(candles) are not permitted in any patient care area.

## Slide 9: Interim Life Safety Training
Interim Life Safety Training may be required when a life safety system is affected during construction and or renovation. Alternate egress paths will be determined during pre-construction meetings and that information will be provided to the affected staff members and posted throughout the affected area by Facilities or Engineering.
An example of this is when the Laboratory's rear fire exit was temporarily blocked during the 7th and 8th Towers expansion.