## New Lot Quant Rev 1.14.2010
Einstein Medical Center
5501 Old York Rd Philadelphia PA 19141
|  |  |  | EMCP ( ) |  |  |  | EMC-EP ( ) |  |  |  | Instrument Number ___________
New Lot Reagent Calibration/Validation Log (Quantitative Testing)
Date Cal'd | Tech | Reagent | Old Lot Number | New Lot Number | Calibrator Lot Number | Write OK for EACH QC level to indicate it is within acceptable ranges in Cerner |  |  | Patient Results |  | Reason for Calibration
[6 empty] | Level 1 | Level 2 | Level 3 | Old Lot | New Lot | New Lot # | QC out | Cal. Expired on board | Lead Tech/Sup Review