1.0	Purpose

To define the steps necessary for the detection, classification and specificity of globulins causing in vivo sensitization of red blood cells.

2.0	Scope

This procedure provides the steps necessary to perform and record the Direct Antiglobulin Test (DAT) of patient and donor samples.

The scope of testing shall vary between EMCP and EMC-EP due to service providers.

3.0	Specimen

3.1	Pink top EDTA sample

3.1.2	Donor samples are retrieved through the integral tube segment.

3.2	Centrifuge patient samples for 10 minutes to allow for separation of cellular elements from the plasma before testing.

4.0	Equipment

4.1	Anti IgG Anti Human Globulin (AHG)

4.2     Polyspecific Anti Human Globulin

4.3	Anti-C3b- C3d

4.4	Coombs Control Cells (IgG coated)

  - 12x75mm test tubes and tube rack-

4.6	Complement Coombs Control Cells (C3b coated) - at EMCP Only

4.7	Isotonic saline

4.8	Transfer pipettes-

4.9	Serofuge

5.0	Quality Control

Negative results are tested with Coombs Control Cells to verify the negative reactivity of Anti-IgG and Anti-C3b- C3d as defined per site location.

6.0	Procedure

6.1	POLYSPECIFIC

6.2  	Perform Test

6.2.1	Prepare a 3-5% patient/donor cell suspension labeled with the last 4 numbers of the patient’s accession number or donor identifier if performing DAT on donor.

6.2.2	Place one (1) drop of the cell suspension into each of the appropriately labeled 12 x75 tubes.

6.2.2.1 One tube labeled POLY/one tube labeled for Control.

6.2.3	Wash the tubes three (3) times with saline.  Completely decant the final supernatant.

6.2.4	 Immediately add two (2) drops of Poly reagent into test tube.

6.2.4.1 2 drops POLY in tube labeled POLY and 2 drops saline to tube   labeled                                                           Control.

6.2.4.2   Gently mix each tube contents.

6.2.6	Centrifuge the tubes at 3500 rpm for the time indicated for AHG testing on the serofuge.

6.2.7	Observe results:

6.2.6.1	Gently resuspend the cell button, with the button facing upward.

6.2.6.2	Observe the cells for agglutination.

6.2.6.3	Carefully observe for mixed field reactivity.

6.2.9	Immediately grade and record results in the computer in LIS or on downtime forms. Record the grade in the computer and footnote “mixed field”

    - To negative reacting tubes check cells (CC) must be added

6.2.10.1     Add one drop of Coombs Control Cells to both POLY and CONTROL tube.

      - A positive CC result is expected and verifies the negative result obtained

      - A negative CC result indicates an invalid test.  Repeat the test.

6.2.10.4    Control tube must be negative.

    - EMC-EP ALL positive polyspecific samples shall be transported to EMCP for extended DAT work-up which shall include IgG and C3b/C3d.

  - Extended DAT work-up is required when Poly Dat is positive.

6.3.1	Prepare a 3-5% patient/donor cell suspension with the last 4 numbers of the patient’s accession number or donor identifier if performing DAT on donor.

6.3.2	Place one (1) drop of the cell suspension into each of the appropriately labeled 12 x75              tubes.

6.3.2.1	One tube labeled for IgG/one tube labeled for C3b/C3d.

6.3.3	Wash the tubes three (3) times with saline.  Completely decant the final supernatant.

6.3.4	Immediately add 2 drop IgG in one tube/ 2 Drops C3b/c3d in other tube.

6.3.5.1	Gently mix each tube contents.

6.3.5	Centrifuge the IgG tube at 3500 rpm for the time indicated for AHG testing on the

serofuge. Let the C3b/c3d tube sit for 5 mins at room temperature before centrifugation.

6.3.6	Observe results:

6.3.6.1	Gently resuspend the cell button, with the button facing upward.

6.3.6.2	Observe the cells for agglutination.

6.3.6.3	Carefully observe for mixed field reactivity.

6.3.7		Immediately grade and record results in the computer in LIS or on downtime forms. Record the grade in the computer and footnote “mixed field” if observed.

6.3.8		To negative reacting tubes check cell must be added.

6.3.8.1	Add one (1) drop of Coombs Control Cells to the IgG tube.

Add one drop of Complement Coated Coombs Control Cells to the C3b/C3d tube.

6.3.8.2  A positive CC result is expected and verifies the negative result

obtained.

6.3.8.3 A negative CC result indicates an invalid test.  Repeat the test.

6.4	Cord Blood Samples for DAT are performed at EMCP only and utilize Anti-IgG reagent only.

6.5	Interpret DAT as directed in section 7.0 of this procedure.

6.6	If IgG is positive refer to sections 9.3 and 9.4 of this procedure.

7.0	Interpretation

7.1	Extended DAT: EMCP only: Determine interpretation and report as directed by the following chart:

| Anti-IgG | # Anti-C3b- C3d | # Saline Ctl | Interpretation | Report |
| --- | --- | --- | --- | --- |
| Positive | Negative | # NP | Positive | IgG antibody coating red cells |
| Negative | Positive | # NP | Positive | C3b- C3d coating red cells |
| Anti-IgG | # Anti-C3b- C3d | # Saline Ctl | Interpretation | Report |
| Positive Negative | Positive Negative | Negative ### NP | Positive Negative | IgG antibody coating & C3b- C3d coating red cells Negative DAT |

7.2	Poly DAT:

| # POLYSPECIFIC | # Saline Ctl | Interpretation | Report |
| --- | --- | --- | --- |
| # Positive | # Negative | Positive | IgG and/or C3b/C3d coating red cells |
| # Negative | # Negative | Negative | Neither IgG or C3b/C3d coating red cells |

7.3 If Saline Control is positive all results are invalid.

8.0	Reporting Results

  - Results are reported as directed by the applicable LIS procedure.  Refer to the LIS manual as appropriate.

  - Positive DAT (on cord samples) results are called to a “licensed caretaker” as a critical value. Refer to policy BB01-020.

9.0	Procedure Notes

  - The DAT (also known as a Direct Coombs test) is an investigative tool for detecting in vivo binding of red cells and antibody and/or complement.  This may cause decreased red cell survival.

  - Positive DAT’s may be caused by:

    - Autoantibodies to intrinsic red cell antigens

    - Alloantibodies in recipient’s circulation, reacting with antigens on recently transfused donor RBC’s (possibly due to a delayed transfusion reaction)

    - Alloantibodies in donor’s plasma which react with antigens on recipient’s red cells

    - Alloantibodies in maternal circulation which cross the placenta and coat fetal red cells

    - Antibodies directed against certain drugs, which bind red cells membranes (ex. Penicillin)

    - Adsorbed proteins, including immuglobins, which attach to abnormal membranes or red cells modified by therapy with certain drugs (ex. Cephalosporins)

9.3     Determine the need for elution.  An elution is not indicated in cases where:

9.3.1	Positive cord blood DAT and the ABO system is suspected. Note: Mom’s type and screen status must be known, her ABSC must be Negative with no previous Antibodies on record.

9.3.2	If eluate was performed in the past 14 days, the patient hasn’t been transfused or discharged and the DAT IgG reaction is the same as previous or less.

9.4     An elution is indicated in cases where:

    - The DAT result is positive for IgG, and the patient has not had an eluate in the past 14 days.

9.3.2	The DAT result is positive for IgG, and  the patient has  had an eluate in the past 14 days and the DAT result has increased in strength by  +1 or more.

9.3.3	The DAT result is positive for IgG, and the patient has been transfused in the past14 days.

9.3.3.1	If the DAT result for IgG is positive and the patient has been transfused in the past 14 days. Refer to BB08-010 Transfusion Reaction, as a delayed transfusion reaction is suspected.

10.0	Limitations of Procedure

10.1	False-positive reactions may result due to:

10.1.1	Wrong antisera used

10.1.2	Contaminated reagents

10.1.3	Delay in completing procedural steps

  - False-negative reactions may result due to:

10.2.1	No antisera added

10.2.2	Wrong antisera used

10.2.3	Contaminated reagents

10.2.4	Improper resuspension of cell button; vigorous shaking

10.2.5   Improper cell washing

10.2.6	Delay in completing procedural steps

11.0	References

11.1	Roback, John D., Ed Technical Manual, 18th ed. Bethesda, MD: American Association of Blood Banks, 2014

11.2	Standards for Blood Banks and Transfusion Services, 30th ed. Bethesda, MD American

Association of Blood Banks, 2016

12.0	Records

12.1	Patient DAT interpretations are retained for five (5) years, or longer as directed by local, federal or regulatory agency regulations.

12.2	Positive DAT results and investigative study results are retained indefinitely.

- Attachments/Appendix/Forms/Documents

13.1	Attachment 1:  Drug List

Approval Signatures:

| Date | Printed Name | Signature |
| --- | --- | --- |
| 9/1/16 | Pettina Walton Blood Bank Supervisor |  |
| 9/1/16 | Vanessa Rawlings Elkins Park Laboratory Supervisor |  |
| 9/1/16 | Manjula Balasubramanian, MD SectionDirector, Blood Bank |  |
| 9/1/16 | # Nancy A. Young, M.D. Medical Director |  |

Annual Review

| Date Reviewed | Reviewed By | Revisions |
| --- | --- | --- |

ATTACHMENT 1: Drug List

Aceclofenac					Ectodolac				Piperacillin

Acetaminophen/paracetamol			Erythromycin				Podophyllotoxin

Amphotericin B					Fenfluramine				Probenecid

Ampicillin					Fenoprofen				Procainamide

Antazoline					Flourescein				Propyphenazone

Apazone/azapropazone				Fluoroquinolone			Pyramidon

Apronalide					Flourouracil (5-FU)			Quinidine

Butizide					            Floursemide				Quinine

Carbenicillin					Glafenine				Ranitidine

Carbimazole					Hydralazine		 		Rifampicin

Carboplatin					Hydrochlorothiazide			Rituximab

Carbromal					9-Hydroxymethylellipticinium		Sodium pentothal

Catergen/cyanidanol				Ibuprofen				 Stibophen

Cefamandole					Indene derivatives(Sulindac)     		Streptomycin

Cefazolin					Insulin					Sulbactam-

Cefotaxime					Interferon				sodium(Unasyn)

Cefotetan					Interleukin-2				Sulfonamides

Cefoxitin					Isoniazid				Sulindac

Ceftazidime					Latamoxef				Suprofen

Ceftriaxone					Levodopa				Suramin

Cephalexin					Mefenamic acid				Tazobactam

Cephaloridine					Mefloquine				Teicophanin

Cephalothin					Melphalan				Temafloxacin

Chaparral					Mephenytoin				Teniposide

Chlordiazepoxide				6-Mercaptopurine			Tetracycline

Chlorinated Hydrocarbons			Methadone				Ticarcillin

Chorpromazine					Methicillin				Thiopental

Chlorpropamide					Methoin				Tolbutamide

Cianidanol					Methotrexate				Tolmetin

Cisplatin					Methyldopa				Triamterene

Cladribine					Methysergide				Trimellitic-Anhydride

Clavulanante potassium				Moxalactam 				Zomepirac

Cyanidanol					Nafcillin

Cyclofeni

Daratumumab (notify supervisor)*	             Nomifensine

Diclofenac					Oxaliplatin

Diethylstilbestrol (INOX)			p-aminosalicylic acid

Diglycoaldehyde		                          Penicillin G

Diphenylhydantoin				Phenacetin

Dipyrone					Phenytoin