EINSTEIN MEDICAL CENTER-Hematology

subject:	Hematology STAFF MEETING

ATTENDEES:	David Hinkle

date:		September 30th,, 2016

AGENDA

| CATEGORY | TOPIC | ##### ANNOUNCEMENT / UPDATE | DISCUSSION |
| --- | --- | --- | --- |
| TECHNICAL HEME | - Cellavision - Inspections - Temperature Charts - NRBC correction - Critical Values - MCV Delta | - Cellavision interface 50%complete. On hold until LIS completes Procalcitonin interface - CAP window opens January 2017. Sasha will be performing mock inspections between November. Please make sure that all reagents are properly labeled, and that all paperwork is initialed. - Make sure all med training assignments are completed - NRBC corrections when the manual count differs 10% a WBC correction is needed. Print the Lab report from Sysmex. Uncorrected WBC on bottom left of printout. - When CBC without diff is ordered only NRBC# shows on the GP report. Lab only prints out NRBC%. I am working with Sysmex/LIS so the NRBC% will print. - Documentation of Critical Values – Remember Name, date and time. Initials. If you are not compliant you will be written up. No exceptions. - Procedure to be rolled out with 5fl delta following LIS change will also list explainable delta. In the meantime, continue typing blood for unexplainable deltas. |  |
| Goals | - Hematology Goals | GOALS FOR OUR DEPARTMENT INCLUDE THE FOLLOWING: - Goals for Hematology Department - ED Coag TAT - Target 90% RESULTED WITHIN 45 MINUTES - Stat Coag (Hospital) TAT - Target 90% RESULTED WITHIN 55 MINUTES - ED CBC Stat TAT – Target 90% RESULTED WITHIN 45 MINUTES - Stat CBC (Hospital) TAT - Target 90% RESULTED WITHIN 55 MINUTES - Stat Hepnomo TAT – Target 90% RESULTED WITHIN 50 MINUTES - Stroke Stat CBC TAT- 92% RESULTED WITHIN 30 MINUTES - Stroke Stat Coag TAT- 92% RESULTED WITHIN 30 MINUTES - Correlation of Body Fluid to Cytology – Target 100% CORRELATION - Critical Results Called – 100% COMPLIANCE WITHIN 60 MINUTES - Corrected Reports – 98 % COMPLIANCE - CAP – 100% COMPLIANCE - Cancer Center CBC-RESULTED WITHIN 15 MINUTES OF RECEIPT (currently 97%) - Tracking ER cancellation times. ER specimens should be cancelled within 60 min of receipt. Hematology met all goals for August. Continue prioritizing all STATS |  |
| EMPLOYEE ISSUES/ Competency | - EMCP competency | - Please remember it is your responsibility to provide the supervisor with all necessary documentation for your competency. Ashley, Loretta, and Chris will still provide staff with the unknown samples. Anyone who is competent may observe and sign you off on the duties. It does not have to be supervisors/Lead Techs - We will be using the MedTraining.org website. Competency quizzes will be assigned at the beginning of the year. You will have till the end of the month you are due to complete the quiz and be competent. | - discussed |
| HOSPITAL NEWS | - Overtime Approval - Overtime forms - Rapid Response - Healthcare Business Briefing - Harvest Ball - Pharmacy Hours | - Remember you need a supervisor’s approval to work over your scheduled time. This is even if it is 15 minute. You need to request approval prior to staying, do not come and let us know that you stayed and it is after your scheduled time. - Employees must complete a Voluntary Overtime Acknowledgment Form for each voluntarily worked shift that they accept that is outside of the agreed to, predetermined and regularly scheduled work shift. (Appendix A). Managers must retain the completed Voluntary Overtime Acknowledgment Form for three (3) years. Sheets will be located by the schedules in a separate bin. For those of you that are helping pick up shifts please remember to complete the voluntary overtime form. - Rapid Response - Code Blue-patient, employee, visitor not breathing-any area attached to the hospital-ex Klein - Emergency Response-Is an emergency other than cardiac, seizures, etc., these are termed emergencies not life –threatening-ex. Pt who comes to a physician office. Team will do a scoop and run and take the pt. to the ED. Security is the common denominator - RRT-Rapid Response Team-EMCP for inpatients only-EP-is for inpatients and outpatients - Healthcare Business Briefings: Over the next few months All staff will be required to attend the Healthcare Business briefings. Please stay tuned for the assigned days. - This year’s Harvest Ball is dedicated to telemedicine. - Pharmacy hours for employees are extended from 7am-7:30pm (M-F). | - discussed |
| SAFETY | - Zika Testing | NOTE: The following information pertains only to EMCP/EMCEP patients. I. For inpatients (and outpatient clinics in Klein building): 1) The ordering clinician will review the Zika Virus Testing Guidance form and algorithm which will be available on the E-Net to determine if the patient meets criteria for Zika virus testing. 2) The ordering clinician will contact the PA Department of Public Health at 1-877-PAHEALTH or the Philadelphia Department of Public Health 215-685-6742. The Department of Health will review the patient information and determine whether or not the patient meets criteria for testing. 3) The clinician must complete the Zika virus laboratory submission form which must be sent along with the specimen. The Zika Virus Laboratory Submission Form will also be available on the E-Net. Samples will not be accepted by the laboratory without a completed form. | SAFETY |
| HUMAN RESOURCES | - Open Positions Vacancies - Closed Vacancies - Attendance Policy and PSL - Health Steps - Flu Compliance | Lab - Open Requisitions OPEN REQS. – EMCP/EP Open Positions- - Req 12746 21408-QA Manager Laboratory Lab Administration replacing Jaclene Kokoszka - Req #-21412-PRN Central Processing Clerk replacing Christine DelCotto - Req #-21404-Lab technologist replacing Maria Torres-75 hrs. 12-8pm - Req #-21404-Lab technologist replacing Michelle Mckenna-64hrs Closed Positions- - Req 13770- 21402-Lab PRN technologist replacing Christine Eagle-Awarded to external (student)Palakiyem Watoussim - Req 14421-21406-Lab PT technologist replacing Phuong Nguyen-40hrs-Awarded to External Candidate Bhumiben Patel As you are aware the new attendance policy has been removed and the point system has been canceled. Unscheduled absences, early departures and lateness will be tracked as occurrences/episodes of absences under the previous Attendance & Punctuality Policy (HR025.2). In addition, as of right now anything over the one minute start time is still considered late. Healthy Steps are due soon. Please make sure your appointments are scheduled in advance. Don’t wait to the last minute. Due by 11/30/2016. Flu shots are beginning October 3rd. Please remember that staff is responsible to submit compliance online. If you are requesting a medical or religious accommodation this must be completed prior to October 7th. Flu Shots must be completed and submitted by November 15th, 2016 to be compliant. | - Discussed - Flu shot email hung by schedules |
| SLR | - SLR | New wireless headsets were installed. Will reach out to get instructions for use. What tools do you need to do your job? Looking into shelving/Mobile cart for CBC specimen dropoff. | - Move Shelving/ Add shelving |
| SEVERE WEATHER | - Cots | Would staff like for the Laboratory to purchase cots specifically for our department to guarantee a place to sleep in the advent of bad weather (snow)? Looking into if Nursing could provide sheets for the lab if we had our own cots. | - Staff would like Cots |