EINSTEIN MEDICAL CENTER-Hematology/Chemistry

subject:	Hematology/ Chemistry STAFF MEETING

ATTENDEES:	 Jennifer, David, anil, ashley, alvin, sue, karen, andrea, hemant, maria, Toan, Ngoc Lu, Shanice, Courtney

date:		August 13th, 2019

AGENDA

| CATEGORY | TOPIC | ##### ANNOUNCEMENT / UPDATE | DISCUSSION |
| --- | --- | --- | --- |
|  | Mission Story | - Does anyone have a story they would like to share that connects to Einstein’s Mission Statement? | Nothing discussed |
| TECHNICAL HEME | - Documentation - Pending logs - Fluid slide reminder - Off shift training - Procedures - Supplies - Pathology review | - Documentation on maintenance/check off sheets is still an issue. Make sure before you leave for the day everything has been double checked. Are there any ideas on how to improve? Con ED should be documented by you on your sheet in the binders. - Reminder to check the pending logs at least hourly. Checking more frequently will help decrease TAT. - When reviewing fluids start with 10 X to look for large/clumped/suspicious cells. - Binax/Malaria/Mixing study training. We will schedule time for each person to come in and be trained on these tests as staffing permits. Waiting for replacement of Bhumi Patel - Anti X aA to go live late August/ Early September on stago - When supplies are received it is everyone’s responsibility to put them away. There are times the reagents are not delivered until after 4pm. Please be sure to follow the receiving log procedure. - Please remember to send the emails to the responsible pathologist when sending Blasts for review. Reminder the only pathologist for Heme review is Dr. Arguello and Dr. Bala. | Discussed |
| Technical Chemistry | - Communication btw shifts - Scribbling Resuls/Use of white out - NGAL - QC - PCT TAT - UF 1000 QC - Releasing of results from IM - Pending Logs - Vidas Aliquots, QC/Patients | - 5 minute hand off communication. This is absolutely mandatory. Issues need to be recorded in the communication binder as well as verbally told to the next shift coming in. - Stop scribbling out on calibration logs, and documents. Place a line through the item and your initials. No use of white out or labels over documentation. - Working on validating NGAL on C4. (neutrophil gelatinase-associated lipocalin, lipocalin-2, siderocalin) It will be ordered by select departments only for grant purposes. It is the first diagnostic acute kidney injury biomarker which can be measured in human urine. ETA to go live is beginning of September. - I am updating the laminated QC sheets with the QC Numbers and Tests for all 5 analyzers with the most recent changes to assay locations. Effective 9/1/19 it is mandatory to use these laminated QC check sheets to ensure that all QC has be performed and all reagent is on board. Going forward, missed QC will not be acceptable as these sheets are a last check to ensure all QC is accounted for. - PCT TAT has been drastically decreased for Dayshift for the past 4 months. We broke out the RIA/ UA benches and this has not improved this past month. You need to be checking the Pending logs to ensure that all samples are accounted for in a timely manner. TAT for PCT is 90 minutes. I will be working with CP so these tubes are not spun in the back room and forgotten about. - Documentation on QC logs on the side of the instruments is a must. QC is being repeated but no documentation that it was out the first time. - If you perform QC and accidently mix up levels (ie. 1 for 2) you must repeat the QC that is out regardless of knowing that you mixed up the QC cups. - Overuse of QC material. We are going through QC material way to fast. This is due to the over pouring of the QC material when only a few drops are needed. The QC material is expensive and frequent ordering is causing for new lots and having to setup on the analyzers and in Cerner. - Lot to Lots are still not being completed for the 5 look backs. Documentation needs to be completed and placed in Jennifer’s door immediately. Do not place on the clip boards or in the binders. If there are no five look back samples available, you still need to complete the form for review and place in Jennifer’s door. - We will begin to track specimens from the time they are completed on the instrument to the time a tech releases or rejects the result in Instrument Manager. There is an issue with a delay in handling these results. We always need to have someone in Instrument Manager keeping up to date with the results. We can not have critical values or hemolyzed samples not called for hours. - Pending logs need to be pulled and printed at the beginning and end of the shift and reviewed. Through out the shift the pending log should be pulled at least electronically. Do not pull the pending log and leave it for the next day to review. The purpose of pending logs is to ensure the timely resulting of results. Make sure the logs are placed in the correct bins so when there are issues we can review them for following up on any issues. | - This is not being completed. Staff are passing off instructions or items are recorded in the communication binder, but no action is being taken. |
| General Hematology/ Chemistry Updates General Hematology/ Chemistry Updates Continued | Cleanliness Lunches and breaks Restocking bench/ Receipt of supplies Vendors Trash | - Please make sure to clean your area after yourself. Shred OR orders for TEG; gloves; pipettes’ in trash not on the counter. Please watch what you are throwing in the sharps container: gloves, paper towels and drink bottles do not belong in these cans. - Lunch times- Dayshift please follow the schedule. Schedule is posted on the board above the Chemistry daily checklist binder. Breaks are to be 15 mins and only if work and staffing allows. Lunches are 45 minutes. Remember missed breaks should be approved by a Supervisor. All employees are now receiving the same lunch deductions and must follow the 45 min lunch schedule as discussed. - Restock benches for the next shifts. If something is out, please restock the shelves. - If you receive reagents, please use the log sheets. Expiration dates, lot numbers and quantity are necessary. Also make sure reagents and supplies are put away. Do not leave anything in the hallways. - If you see we are running low on supplies, please continue to notify Supervisors/ Lead Techs - Vendors need to visit the Kiosk in the entrance of the hospital prior to coming into the lab. This is a new security requirement. - Trash – in the storeroom – do not leave it in the storeroom, take it to the trash room. Door code is 1-2-3. |  |
| DDR | Review of DDRs | Reminder: Corrected results must be corrected upon discovery. The system tracks all entries you are not held responsible when a correction is made. Also document a DDR/IQE electronically. Please look for this assignment in Medtraining. This is mandatory to complete. Most frequent Hematology issue is failure to document Delta investigation. Please remember if the test did not AV then follow up is required. See posted PSN entered each month that pertain to the lab on the Core Studer board | Discussed – IQE is due by May 31st. |
| Goals | - Hematology Goals | - ED Coag TAT - Target 90% RESULTED WITHIN 40 MINUTES OF RECEIPT - Stat Coag (Hospital) TAT - Target 88% RESULTED WITHIN 40 MINUTES OF RECEIPT - ED CBC Stat TAT – Target 95% RESULTED WITHIN 40 MINUTES OF RECEIPT - Stat CBC (Hospital) TAT - Target 95% RESULTED WITHIN 40 MINUTES OF RECEIPT - Stat Hepnomo TAT – Target 92% RESULTED WITHIN 45 MINUTES OF RECEIPT - Stroke Stat CBC TAT- 92% RESULTED WITHIN 30 MINUTES OF RECEIPT - Stroke Stat Coag TAT- 92% RESULTED WITHIN 30 MINUTES OF RECEIPT - Correlation of Body Fluid to Cytology – Target 97% CORRELATION - Critical Results Called – 100% COMPLIANCE - Critical Results TAT – Target 92% WITHIN 60 MINUTES OF RESULT - CAP – 95% COMPLIANCE |  |
| EMPLOYEE ISSUES/ Competency | EMCP-employees due for competency Evaluations CON ED and electronic assignments | - Please remember it is your responsibility to provide the supervisor with all necessary documentation for your competency. Chanh, Loretta and Chris will still provide staff with the unknown samples. Anyone who is competent may observe and sign you off on the duties. It does not have to be Ashley, Loretta, or Chris. Must have completed prior to the end of your assigned month. The observer should be the individual initialing under direct observation and not the tech performing the test. - Failure to complete any annual compliance will result in accountability actions. - MediaLab/MedTraining/HealthStream/Competencies: You must complete the assignments on time. These are all a part of the annual eval. We should not have to remind anyone numerous times. Clarification to the Admin Procedure-It is for the employees calendar year Ex: if you are hired in February you can collect paperwork from February to February. |  |
| HOSPITAL/ LAB NEWS HOSPITAL/ LAB NEWS CONTINUED | - Benefits (Healthy Steps) - Tobacco Surcharge - Manager Minutes - Annual Evals | - All employees and spouse plan members will need to attest to their tobacco status in Redbrick by 12/31/19. The surcharge will be effective 1/20/20. - Employee and spouse plan members who use tobacco will either pay a $25 surcharge per pay. - Counseling Services Available 24/7 - Everyone faces challenges in their day-to-day lives, and at times those challenges may feel overwhelming. - Remind your staff that confidential counseling services are available 24/7 for all employees and their families, - regardless of whether they have Einstein health benefits. A Carebridge representative can be reached directly at - 800-437-0911, or employees can call LiveWell at 215-456-8484 and press #3 to reach Carebridge. Additionally, - staff can reach out to their human resources representative, or our Chaplaincy at 215-456-6055. - Einstein Part of Team to Acquire Hahnemann’s Residency Program - MossRehab Achieves Milestone on U.S. News & World Report’s Best Rehab Hospitals List - Einstein Represents Community in Hearing Before Government Officials - Einstein Philadelphia Hosts Biggest Blood Drive Since 2014 - Einstein Philadelphia Hosts Biggest Blood Drive Since 2014 - Accessing Domestic Violence Screening and Referral Process - Engaging Employees Through Psychological Safety - Evals will be completed by 9.9.19. Please send the continuing ed info, personal goals, as well as the annual safety dates if you have not done so |  |
| GOALS | FY 2019 Pillar Goals and Tactics | Updated FY19 goals for the Lab require participation from all staff. Please review Studer boards for LEM Success information LEM Scorecard is hanging on the Studer board. Also attached. Areas of improvement are the ED TAT; Employee engagement; and overtime. Lab is trending upward but still hope to improve. |  |
| HUMAN RESOURCES | Open Positions Vacancies Scheduled Sick | - Open positions are posted monthly in the hallway on the former continuing education board. All three sites are posted. - If an appointment/procedure requires all day give 7.5 hours of scheduled sick. - If an appointment is only 30 min we will factor in travel time and have you come to work at least half a day. If the employee still wants an entire day they can take half ss and half pto. - The employee can also use an entire day and schedule all appointments for that day. The following do not require an entire day of scheduled sick Teeth cleaning Healthy Steps annual checkup All day ss is needed for Colonoscopies Procedures in which the employee maybe sedated |  |
| STUDER | SLR Studer | - What tools do you need to do your job? Siphon purchased in April for SP10 DiH2O rinse transfer. - Rounding – does everyone know what Rounding is? This is where your leaders (lead techs, supervisors, managers) ask you how everything is going, what is going well, what tools or supplies you need to do your job, any improvements you would like to suggest, and if there is anyone you would like to recognize. |  |
| EMPLOYEE RECOGNITION | Days to Days | - If you see a coworker deserving of a day to day for going the extra mile, please notify the supervisors the person and what they did that was extraordinary. I have requested more day to day cards. |  |