EINSTEIN MEDICAL CENTER-MICROBIOLOGY

subject January Microbiology staff meeting

ATTENDEES: Microbilogy staff,

date  1/29/2020

AGENDA

| CATEGORY | TOPIC | ##### ANNOUNCEMENT / UPDATE | DISCUSSION |
| --- | --- | --- | --- |
| Mission Stories | - Mission Story | - Does anyone have a story they would like to share that connects to Einstein’s Mission Statement? Einstein’s Mission: With humanity, humility and honor, to heal by providing exceptionally intelligent and responsive healthcare and education for as many as we can reach | Mission Stories |
| TECHNICAL | - Failed QC - AFB - Cepheid - TB/Bloods - Fluids | - When QC fails, you must fill out a DDR. Do NOT just “fix” the failed QC. - Specimen retention: When you finalize a positive AFB culture, you must remove the MGIT and LJ from the incubator and place in the cabinet. Positive specimens should be saved for 6 months after the final result. Please check the cabinet at the same time you read the slants. - Positive Fungus slants should be saved for one month after the final result. Please check the save rack at the same time you read the slants. - The weekly Cepheid maintenance is not being performed every week. The culturing bench is to perform this maintenance every Monday. Is this being done? - TB/PCR is too busy for one person. Starting in December: When the swing shift person comes in, they will take over for the culturing or bloods person (depending on who is trained in TB/PCR). That person will in turn help the TB/PCR person. The TB/PCR person will dictate what needs to be done. Start when Rho returns - Fluids no longer automatically canceled after 72 hours. Must check unreceived list and investigate all unreceived specimens. You may cancel specimens that are outstanding for a month. - Strep Group A in sterile sites | - Doing a great job with DDR’s for QC failures. Keep up the good work. - Positive AFB slants saved for 6 months after final report. Please check the save rack when you read slants on Monday and discard when appropriate. - Positive Fungus slants saved for one month after final report. Check saved slants on Monday and discard appropriately. - Kim stated that weekly maintenance is being performed. Please see Kim Curran if you need training on weekly maintenance. - Fluids are no longer automatically canceled after 72 hours. Lisa will ask Dave about what list to check. Fluids may be canceled after 1 month. - We do NOT need to call Strep A in sterile sites. This is no longer on the critical/courtesy call list. Please save a slant in case the City requests the specimen. |
| QUALITY PROGRAM | - Emails - Inspection Readiness | - If I ask for a response to an email, I expect it to be done ASAP. You only need to respond if I ask for a response. - Check-in for CAP readiness assignments- weekly reagent checks - Finally got ceiling vents cleaned - Walk-in refrigerator decontaminated - 100% CAP surveys: Bacteriology, Immunology, Flu/RSV, Crypto/Giardia, GBS, HIV - No Label, Mislabeled, BB Discrepant Info, Questionable Specimen Integrity | - Everyone feels like we are “Inspection Ready”. If you find a reagent that is close to expiration, discard if we have a new one available. Sterile water and saline are only good for 1 month. - No label: the specimen is not labeled. Label in the bag with specimen is still unlabeled. Cancel and notify floor and do PSN - Mislabeled: 1. Nursing tells you sample is mislabeled. 2. Specimen fails delta check and ABO does not match. Cancel as mislabeled, notify floor and do PSN - Questionable Specimen Integrity: Specimen fails delta check but ABO matches. Cancel and notify floor. No PSN |
| SCHDULE ISSUES |  | - Jessica trained in virology and bloods - Tam started training in January - One PRN position remains open- Offer to be extended - Kronos adjustment form - New procedure for schedule- OT for full-timers - FT employees who resign can stay PRN only if a position is available | - Tam’s first weekend is the end of February. - Waiting in references for possible new PRN - Preliminary schedule sent out by 15th of the month. Any available dates are filled “first come, first served”. Full-timers may choose OT or a Comp Day. Only Emergency changes made after the first of the month. - Full-timers who resign can only stay as PRN if there is a position available. |
| HUMAN RESOURCES |  | See attached for positions available within the lab |  |
| DDR’s/PSN’s | DDR’s- when and how | - One PSN’ entered for Micro- When we were out of Flu/RSV reagent n 11/29, we forgot to notify ED there would be a delay in testing. - November 2 clerical errors December 2 clerical errors 1 technical error |  |
| Studer |  | - Does anyone have a story to share? | - . |
| HOSPITAL/LAB NEWS |  | - Everyone was compliant for the Flu vaccine - Healthy Steps has extended the deadline for the Tobacco Attestation to May 31, 2020. - Manager’s Minute: - Years of Service event scheduled on Thursday, April 2nd. Invitations coming soon - Private Postpartum Rooms available at EMCP |  |
| HOSPITAL SAFETY |  | . | - . |
| Vacant Positions |  | See Printout |  |
| Education | - Competency | - Competency form must be filled out correctly or I will return it to be fixed. - Flu/RSV 2nd 6 month competency due in January. Please hand in printout from instrument - 2020 Continuing ED Document is due by February 1st. Please see me if you are unsure you completed it | - Changes to Competency: - For non-instrument testing, proper QC acts as the maintenance. Lisa added to form. - Someone MUST watch you perform all testing and/or maintenance. Competency forms to be emailed to all staff. Have someone fill out form after they watch you perform. Save printout and/or worksheet. - Unknowns will be ordered the month that your competency is due. - This is a BIG change. Please see me if you have any questions. - I can supply manilla folders to hold all your printouts. |
| Employee recognition |  | Day to Days - Binh and Jessica for returning supplies to the Walk-in | - Huge thank you to Binh and Jessica! |
| Lab Week |  |  |  |
| New Discussion |  | - Lisa to investigate light replacement for hood in PCR room 1 - Fungus procedure- add instructions for positive bottle with bacteria - Update positive blood culture procedure with new BioFire reporting - Positive Legionella should be poured over to conical tube and saved in the fluid rack. | - If fungus bottle comes up positive with bacteria, do not put back on instrument. Sub to slants and add to the fungus rack. |

CAP Deficiencies: