## Slide 1: Lab Staff Training on Mislabeled and Questionable Integrity Reporting. Technical Lab Staff

## Slide 2: Mislabeled – Technical Lab Staff
Definition: Blood is taken from the wrong patient or is not labeled with the correct patient’s details.
1. MCV , BUN, or Creatinine delta check flag result and NO clinical explanation; must be confirmed with the ABORH type by blood bank.
Patient A arrives to Einstein on Dec 1; MCV value=93 fL
Patient A has repeat testing done on Dec 3; MCV Value=98.1 fL
Technologist reviews patient’s transfusion history.
Technologist reviews chart for IV fluid infusion.
Technologist speaks with RN to determine if patient was a recent code.
If none of the above-Tech takes sample from Dec 3rd and gives to Blood Bank to perform an ABORH and compares to historical ABO. If no blood type on file they compare to the sample from Dec. 1.
If historical ABORH or the ABORH from Dec 1st is O positive and ABORH from Dec 3rd is B positive=MISLABELED

## Slide 3: Mislabeled – Technical Lab Staff cont.
2. MCV , BUN, or Creatinine delta check flag result and NO clinical explanation; must be confirmed with the ABORH type by blood bank.
Patient A arrives to Einstein on Dec 1; MCV value=93 fL
Patient A has repeat testing done on Dec 3; MCV Value=98.1 fL
Technologist reviews patient’s transfusion history.
Technologist reviews chart for IV fluid infusion.
Technologist speaks with RN to determine if patient was a recent code.
If none of the above-Tech takes sample from Dec 3rd and gives to Blood Bank to perform an ABORH and compares to historical ABO. If no blood type on file they compare to the sample from Dec. 1.
If historical ABORH or the ABORH from Dec 1st is O positive and ABORH from Dec 3rd is O positive=QUESTIONABLE INTEGRITY
3. Bedside label and Cerner label do not match.
4. Nurse or Physician notifies the lab that specimen is mislabeled.

## Slide 4: Mislabeled – Technical Lab Staff Notification Process
Staff will notify all departments that received samples from the same collection.
Cancel all affected orders in Cerner as a mislabeled specimen or questionable sample integrity based on the conclusion of the investigation. Notify the nurse taking care of the patient and reorder the testing.
Staff will enter an IQE immediately.
For mislabeled samples only, Supervisor will enter a PSN and notify the Nurse Manager and Nursing director.

## Slide 5: Mislabeled – Technical Lab Staff Notification Process cont.
When entering a PSN, the event detail should state the following IF IT’S A MISLABLED SPECIMEN:
Historical type or type from Dec 1st ABORH-O positive
Dec 3rd ABORH B Positive
MCV delta check value from Dec 3rd.
CHOOSE EVENT CATEGORY=SPECIMEN LABLEING
CHOOSE SUBCATEGORY=MISLABLED SPECIMEN (WRONG PATIENT IDENTIFIERS)
When entering a PSN, IF IT’S A QUESTIONABLE SAMPLE INTEGRITY
CHOOSE EVENT CATEGORY=SPECIMEN LABLEING
CHOOSE SUBCATEGORY= CHOOSE UNKNOWN/OTHER (SPECIFY)
In event detail enter Dec 1st ABORH and Dec 3rd ABORH

## Slide 6: Why is this Important?
Leadership is enforcing accountability and they rely on the lab to report each incident accurately.
If we report incorrectly the employee will be falsely accused.
These errors are evidence of noncompliance with PPID (Positive Patient Identification)
We are diligently reporting these errors in hopes that they will stop before a patient is harmed.

## Slide 7: Questions
A sample deltas and the ABORH matches, is this a mislabeled specimen?
A sample deltas and the ABORH does not match, what is error this called?
A urine specimen arrives with the label in the bag; this should be canceled as?
What should you do if you are unsure about how to categorize the cancellation of the specimen?