Platelet Clumps on Smear – No flag from analyzer.

First run did not flag as clumps present but smear showed clumping. After vortexing, the count   went up to 200 but the smear still showed some clumps. The final result was reported as >200.