EINSTEIN MEDICAL CENTER Montgomery- CHEMISTRY

subject:	cHEMISTRY STAFF MEETING/UPDATE

ATTENDEES:	Chemistry Department

date:	         JULY 2024 minutes Sent to all cHEM techs Via MediaLab

| CATEGORY | TOPIC | ##### ANNOUNCEMENT / UPDATE | DISCUSSION |
| --- | --- | --- | --- |
| General CHEMISTRY Updates ABBOTT UPDATE DUE DATES OPEN POSITIONS OnPoint Update HOSPITAL / LAB NEWS | Test Volumes FY2024 New Test Reminders/Goals Critical Values Exception Reports CAP REPORT Abbott Updates Self Evals Mandatory Employee Education Supervisor & Staff Annual Competency . Supervisors Troubleshooting Due Evaluations Continuing Ed (Due Evals due date) Vacant Positions/ Resignations/New Hires Postings available on the drive Location: H: \Lab_Opening LAB CHANGES OnPoint Reporting Summary | July 2023 Aug 2023 Sept 2023 Oct 2023 Nov 2023 Dec 2023 90616 95071 95743 96109 100596 100996 Jan 2024 Feb 2024 March 2024 April 2024 May 2024 June 2024 107473 99269 106450 104044 107894 96881 Average monthly volume for FY24 is: 99709 hsTROP is going well – please let me know as you see any issues. It is nice not to have addon TROP testing! Errors seen through the exception report show that we must be careful with Critical Values – if not called because a value is trending to normal – trending, not staying the same – please attach the comment and delete the critical call comment. Exception report errors are being put in the communication log – every Tech is responsible for the information there – please read and sign. Also, don’t forget that ANY details about troubleshooting are important and must be put at the bottom and on the back of the maintenance log for the instrument. This is the only way to track the work done and not search thru the communication log to find something that may/maynot be logged. For calendar year 2023, The Chemistry department achieved 99.6% compliance with a total of 3571 results submitted. For calendar year 2024, we have 100% compliance for the first half, which is FY2024 so far. There is a new pre-trigger and Trigger that will be shipping as early as next month. It should have a distinctive label so be on the lookout for it. They cannot be used interchangeably and certain assays may need to be calibrated when the change is made. Self Evaluations are due by 8/9/2024 Annual and Mandatory and required education for 2024 - Monday, October 14 Competancy forms are due 10/31/2024 Annual EVALS are due Nov. 2024. Continuing Ed forms: please give them to me as soon as you have 4 credits. Teena wants to have them accounted for and put away before November. Done for first shift - Thank you! Open positions: 1 part time in BB (to cover Geoff’s position)., 1 per diem 2nd shift, Our Perdiem position in Chemistry to replace Anuja has been filled by Erik Edwardson, who is a full time Tech at GrandView. We are working on a schedule to have him begin training. Starting 8/5/2024? - It’s great to have only the 4 Chemistry Analyzers and have our counters back. I am hoping to have an additioal shelving unit for the binders by the window soon. - Thank you to Francine for organizing the products in the 2-door Fridge!!! We had a misdraw – wrong patient drawn – nursing staff We had a misdraw – wrong patient drawn – Phlebotomist A doctor concerned about rudeness when spoken to by Tech Timing on the initial draw for TROP protocol – remember that the computer goes back to the very first TROP – even if it was the only result from the ED a week ago. . | July 2023 is first month without outpatient volume. UPDATE UPDATE UPDATE Update |