Blood Bank Staff Meeting 10.23.25

- FDA reportable event/ IQEs/OnPoints:

  - FDA reportable event:

    - A unit was issued without the patient identification label on the back of the unit. Error caught by the floor and the product was returned to the blood bank.

    - A unit of blood was issued and transfused to the patient without the antigen typing QC documented in the system.

      - K antigen typing was performed but not documented in the system.

      - K antigen typing was documented on the downtime form, but QC was not documented.

      - System alerted the tech that the unit being issued was K untested, however the alert was overridden twice (at the time of crossmatch and at the time of issue).

  - OnPoints:

    - None pertaining to the lab.

- CAP / AABB Inspection:

  - Inspection window: 1/2/26 – 3/31/26

- Policy Review:

  - Dr. Bala has offered a pizza party if the staff can find 20 errors in the SOP.

- Quality Indicator:

  - See attached.

- Issues / Escalations (SLR):

  - To be discussed at each staff meeting. Bring issues forward that require attention from the leadership team.