TITLE:   Scanning of Non-InterfacedReferral Testing

PRINCIPLE: Scan original document from referral labmaking it viewable in the electronic medical records

# Personnel: LCC Staff and Phlebotomists

STEPWISE PROCEDURE:

# Choose order entry

Enter Patient Name

Choose correct patient

Choose Correct Order

Choose Soft Media – Black Arrow

Soft Media will appear on bottom of screen – Red Arrow

Choose Scanning

Choose Template

Enter Test Code (black arrow) and Highlight Printer (red arrow). Place report to be scanned on scanner and click on green checkmark. Document will now scan.

Scanned Document

Click on “Link Document”

Go back to main menu with Soft Icons. Choose Resulting Worklist.

Choose Template – This template is based on where the specimen went to be tested, and in the search criteria put in your date range of your reports.

Verify Specimen - Black Arrow

Remember specimen result must be scanned before verifying result.

Save Specimen – Red arrow

Click on OK

SCM View of Scanned Document

SCM will have a hyperlink they can click on to see the test result, black arrow

Scanning is now complete.