## TITLE:  Transferring Blood from RCHC to RCMC

### PRINCIPLE:

To keep the RCHC Yorkville Lab blood fresh and to make sure that the units are rotated once a week on Tuesdays with RCMC Main Lab in order to have time for the Main Lab Blood Bank to use the units of blood before the expiration dates.

### PERSONNEL:

Medical Technologists

SPECIMEN COLLECTION:

###### None

### REAGENTS AND EQUIPMENT:

### Blood storage refrigerator

### Blood storage cooler

### Hemotemp II sticker

### Ice packs and bubble wrap

### CALIBRATION:

###### None

### QUALITY CONTROL:

###### Semi-annual testing of blood transport coolers see Proc.#7180-ECY-1011

### STEPWISE PROCEDURE:

- On Tuesday of every week pick oldest two units of blood and send back to RCMC Main Lab by the first run of the day.

- Remove the Xeroxed copies and the Emergency Tags of the two units being sent back to main lab and throw out.

- In SoftBank II 25.3.0.3.15-Site Y-LIVE  launch “Inventory”, “In/Out” and “Transfer”

- Destination: MIN (Rush-Copley Medical Center)

- Scan Unit Number

- Finish entering unit data or clear the line pop up box appears, press OK

- Scan Product barcode

- F12 - Accept

- New box opens with scanned units.  Enter the Condition of the units.

- F12 - Accept

- Invoice box opens, F12 - Accept

- Affix a Hemo Temp II sticker to each of the units and place in a biohazard bag.

- Wrap bag in bubble wrap and place units in a green/black blood bank cooler with an    icepack on the bottom and one on the top of the blood.

- Send cooler back to RCMC Main Lab with the morning courier run.

- The Main Lab will send 2 new units back with the courier.  See procedure #7180-ECY-401

- Remove Hemo Temp II sticker.

- Make copies of the units and attach the printout to each unit.

- Fill out a blank Emergency Tag for each unit with the Unit #, Product, Exp. Date, and Condition.  Place with the unit in the BB refrigerator.  Tags are located in the folder above the BB refrigerator and in the rolling filing system in a BB Downtime folder.

- Place units in blood storage refrigerator in the Yorkville Lab.

- If LIS is down then use LIS Blood Downtime Log (see example) to document the units that have been returned to the RCMC Main Lab Blood Bank.

REFERENCES:

Installation and Operation Manual

Blood Bank Refrigerators

Thermo Scientific Jewett

Asheville, NC  28804

AABB Technical Manual, 16th Edition, 2008.

Standards for Blood Banks and Transfusion Service 25th Edition, 2008

Operation Manual,  2001

Biosynergy, Inc.

Elk Grove Village, IL.  60007

SCC Soft Computer, 5400 Tech Data Drive Clearwater, Florida 33760  USA