## TITLE:  Logging In and Out of the TEG

## PRINCIPLE:

The TEG uses User names and Passwords (through the Log In window) to track which operator is currently operating the system and to restrict access to areas of the system by unauthorized operators. Only one operator can be logged in at a time.

Each operator has a unique User name and Password with corresponding access rights.

|  | Note: Your user name and password are case sensitive. You must take care to accurately input your User name and Password to account for capital letters, lowercase letters, and numbers. |
| --- | --- |

CLINICAL SIGNIFICANCE:

### The use and assignment of user names allows for operator tracking in an instrument activity audit trail. For example, if any results are edited, the identification of the operator who performed the edit is captured in an event log.

### PERSONNEL:

Medical Technologists

## SPECIMEN COLLECTION/TREATMENT:

Not applicable

## REAGENTS AND EQUIPMENT:

- TEG

## QUALITY CONTROL:

Not applicable

STEPWISE PROCEDURE:

- System Login

To use the TEG system, start the program by double-clicking on the TEG icon on your Windows desktop.

When the system login screen appears, select your use names (Site administrator) (1) from the pull down list and enter your password (2) Password=teg.  If the program is already running, proceed to “Operator Login.”

- Operator Login

The TEG software records the operator who runs each sample or makes any data change.  Before you can run samples. You must identify yourself to the program.  To do this, click on the Login icon (1) in the Main toolbar.  If the login window doesn’t immediately open

This displays an Operator selection and password entry screen

Select your operator ID (1) from the list and enter your password (2).  Click Logon (3) to continue.  If you logon at the same time as another operator, you will be prompted to identify yourself each time a change is made.  Otherwise you need to login only once.

- Log-Out

To log out click on the logoff icon on the toolbar.

## REPORTING AND INTERPRETING RESULTS:

Not applicable

## PROCEDURAL NOTES:

- The TEG software is password protected to prevent unauthorized operator access to the computer operating system.

- You must log off to prevent unauthorized users from accessing the system. If an operator does not log out, unauthorized users may be able to make changes to the system that will affect results.

## REFERENCE:

###### Thrombelastograph Model 5000 Operator’s Guide, 2006

Haemoscope Corporation

S:Laboratory P&P/Blood Bank/TEG/4840TEG-102/ch03/05/12