## TITLE:  Rush University Breast Cancer Research

PRINCIPLE:  Protocol defined below is for collecting and processing specimens for Rush University Breast Cancer Research and Repository.  Specimens to be collected by Rush Copley Outpatient Oncology and brought to the lab.

### PERSONNEL:

Rush Copley Resource:   Amanda Baker – Outpatient Oncology

Judi Bonomi – Director of Outpatient Oncology

Rush University Resource:  Dr. Jeffrey Borgia   312-942-7837

Cristina Fhied  312-942-2210

## REAGENTS AND EQUIPMENT:

Centrifuge

Pipet and tips

Aliquot tubes (yellow top for plasma)

15mL conical bottom tubes

### SPECIMEN :   Plasma from 10mL of EDTA whole blood

## STEPWISE PROCEDURE:    PLASMA

- Centrifuge purple top tubes for 15 minutes at 4000 RPM

- Transfer the plasma into a labeled 15mL conical centrifuge tube

- Save the EDTA tube with remaining cells at room temperature.

- Centrifuge the 15mL conical tube for 5 minutes at 4000 RPM

- Transfer 1mL aliquots of plasma into as many as 10 aliquot tubes.  If there is remaining plasma, add more to each tube until plasma is depleted.

- Label each aliquot with the appropriate label.  Label will contain BCCR #, Patient’s initials, date and time of collection and Site abbreviation.

- Document the number of aliquots and time of processing on the biorepository Processing Form.

- Place all of the aliquot tubes and the remaining purple top in a biohazard bag along with the completed Biorepository Processing Form

- Place the biohazard bag in the -70 freezer in Micro

### NOTES :

### Biorepository Form will be partially completed by Outpatient Oncology.   Lab will complete the remainder of the form after processing.

- These patient collection will be on the day shift

- Additional supplies can be obtained from Dr. Borgia or Cristina Fhied

- Labels for the aliquot tubes will be supplied and labeling has a special format

- Specimens will be saved until we have several patients and then we will batch ship them on Dry Ice to:

Biorepository Laboratory

Rush West Campus

1750 W. Harrison St.

Suite 444 Jelke

Chicago, IL. 60612

.