## TITLE:  Correction of Laboratory Records

## Principle: This policy is a guideline for the management and correction of laboratory records, not associated with patient reports.  Records include, but are not limited to, temperature charts, worksheets, non-interfaced quality control records.

Policy: If there needs to be a correction made on a laboratory record (not associated with a patient result) it is done following these steps:

- White Out or correction tape is not allowed

- A line is drawn through the incorrect information

- The correct information is transcribed

- The initials of the person making the correction are documented next to the corrected data

- The date of the correction is documented next to the corrected data