## TITLE:  Resending Laboratory Results to HIS

## PRINCIPLE:

On occasion, it is necessary to resend laboratory results to the Hospital Information System, (HIS).

PERSONNEL:

###### All Laboratory Staff

## STEPWISE PROCEDURE:

- When someone from a patient care area or I.S. calls to have results resent to the HIS, ask them for the  tests, dates and times to be resent. If they do not know which ones, just resend everything from the order.

- Login to the SoftLab module, if not already logged in.

- Click on the Order Entry icon

- Enter the patient’s name in the Name field, or enter their MRN number in the appropriate field. Click Next. Select the appropriate patient.

- Select the order from the corresponding admission date.

- Highlight the test under the Order tab, and click on the “Send Order” icon  in the upper tool bar. You can select “Send Test”, or if you are unsure which test, select “Send Order”.

- A search window will come up asking which destination. Select “HIS.100”.  Click “OK”.

- A message will appear indicating the results were sent to the HIS.