## TITLE:  Order Status - SOFT

## PRINCIPLE:

This document defines the various statuses used in SOFT that identify the stage of the process for a test, throughout the areas of the application.

PERSONNEL:

###### All Laboratory Staff

## STEPWISE PROCEDURE:

General Laboratory Resulting Worklist Order Status:

L - Labeled	Indicates the specimen has been labeled

C - Collected	Indicates the specimen has been collected

D - Downloaded	Indicates that the ordered test has been downloaded to an instrument

P - Posted	Indicates the result has been posted from an instrument

V - Verified 	Indicates the result has been verified

R - Reported	Indicates that a patient report has been printed

E - Edited	Indicates that the current result displayed has been edited

X - Reflexed	Indicates that the test was reflexed

N - No Charge	Indicates that the test was marked as No Charge

B - Bill Only	Indicates that the test was marked as Bill Only

General Laboratory Instrument Menu Order Status:

O - Original	Indicates the test result is original/new (data only captured)

D - Downloaded	Indicates that the ordered test has been downloaded to an instrument

P - Posted	Indicates the result has been posted from an instrument without verification

V - Verified 	Indicates the result has been posted and verified

T - Transferred	Indicates the result has been transferred from the instrument without verification

C - Canceled	Indicates the test was canceled (rejected-do not post)

E - Edited	Indicates that the current result displayed has been edited

R - Re-run	Indicates the test was re-run

Q - QC	Indicates QC result

R - Reflexed	Indicates that a reflex test was generated

Microbiology Order Resulting Worklist Status:

D - Downloaded	Indicates that the ordered test has been downloaded to an instrument

P - Preliminary 	Indicates that preliminary results are present

I - Interim	Indicates that interim results are present

F - Final	Indicates that final results are present

r - Results	Indicates that results were reported (combines with status, Pr, Ir, Fr)

L - Labels	Indicates that media labels were printed

X - Canceled	Indicates that the order was canceled

P - Posted	Indicates that interface results were posted

+ - Significant	Indicates a significant order

++ - Critical	Indicates a critical result

S - Supplement	Indicates a supplement report (a lowercase r is displayed if the report was printed)

C - Corrected	Indicates a corrected report (a lowercase r is displayed if the report was printed)

R - Reviewed	Indicates the order has been reviewed.

Specimen Tracking Order Status:

C - Collected	Indicates specimen has been collected

L - Label	Indicates a label has been printed

R - Received	Indicates the specimen has been received

T - In Transit	Indicates the specimen is in transit

W - Sent 	Indicates the specimen has been sent to the reference lab

Y - Task List	Indicates the specimen has been added to the task list

Z - Recollected	Indicates the specimen has been recollected