## TITLE: Uploading CAP Cancer Protocols

## PRINCIPLE:

To be able to accurately upload CAP Cancer Profiles into Soft PathDx

**PERSONNEL:**

###### Designated employee: Laboratory Director or LIS analyst

## STEPWISE PROCEDURE:

1. Go to Setup> Setup Files> UDx Setup> CAP Import.
2. Checklist folder: Choose the eCC file that is stored in a folder on the PC.
3. Press the select button.
4. Choose technology: PATH.
5. Mark: Add New Items, Import changed items and inactivate removed items.
6. Deselect: Deactivate checklists that were not selected.
7. Select Default for child items: New Line
8. Press Import button.

The file will import. Duration: several minutes.