TITLE: Pharmacy Sterilty Environmental Culture

PRINCIPLE:  Provide instruction for the receipt, ordering, culturing and result interpretation of gloved fingertip sampling and aseptic media fill specimens collected by pharmacy staff.

PERSONNEL:  Medical Technologist and Technicians, LCC staff

# EQUIPMENT AND SUPPLIES:

35oC CO2 incubator

Chocolate Agar Plate (CHOC)

Modified Eugonic Broth (THIO)

STEPWISE PROCEDURE:

Pharmacy will submit 3 piececs of inoculated media consisting of 2 Chocolate agar plates and 1 tube of Modified Eugonic Broth. The Chocolate plates (fingertip sampling) shall be labeled with the collectors initials, date, time and a R or L to designate which hand fingertips were sampled. The Broth (media fill) will be labeled with the collectors initials, date, and time.

Ordering in Soft system:

Patient Name: Pharmacy, Sterility

Order: Culture Environmental

Source: Pharmacy Sterility Check
Body Site: Free text the initials of the Pharmacy staff that collected the samples

Plating:

When specimen is plated in microbiology 2 CHOC and 1 THIO media labels will be print. Label the samples and incubate in the Co2 incubator new samples.

Reading and Reporting Culture:

The Chocolate plates will be incubated and read for 48 hours. The THIO will be incubated and read for 14 days.

- After 24 hours of incubation, examine all media for macroscopic evidence of growth. If no visible growth is observed on the culture media, re-incubate all plates and broth at 35 to 37o in CO2 incubator. Enter a prelim result of

~“Right Hand: No Growth at 24 Hours”

~“Left Hand: No Growth at 24 Hours”

~“Media Fill: No Growth to date”

If growth is present on the CHOC media count the # of colonies and report for each plate. For the THIO examime for turbidity. Example

“Right Hand: Growth of 2 colonies”

“Left Hand: Growth of 6 colonies”

“Media Fill: Turbid- Growth Detected”

- After 48 hours of incubation, examine all media for macroscopic evidence of growth. If no visible growth is observed on the culture media, re-incubate broth at 35 to 37o in CO2 incubator. Enter a prelim result of

“Right Hand: No Growth at 48 Hours”

“Left Hand: No Growth at 48 Hours”

~“Media Fill: No Growth to date”

If growth is present on the CHOC media count the # of colonies and report for each plate. For the THIO examime for turbidity. Example

“Right Hand: Growth of 2 colonies”

“Left Hand: Growth of 6 colonies”

“Media Fill: Turbid- Growth Detected”

- Examine THIO daily for a total of 14 days. The LIS only needs to be updated if Growth is detected or a Final result at 14 days. Enter Final result of

“Right Hand: No Growth at 48 Hours”

“Left Hand: No Growth at 48 Hours”

“Media Fill: No Growth at 14 Days”

REFERENCES:

2016 The United States Pharmacopeial Convention. Nov. 2016 pg.59