TITLE: Culture Rectal, Urology

PURPOSE:  Provide instruction for the ordering, culturing and result interpretation of rectal swab specimens from Urology.

PRINCIPLE:  Urologists perform this rectal screening procedure before performing a prostate gland biopsy. The biopsy procedure has the potential of introducing resistant organisms into the bloodstream from the rectum. The specialized broth and plate media select for ciprofloxacin-resistant Gram-negative bacilli, an identification and susceptibility panel are performed on Gram negative bacilli that grow from the selective broth and media.

PERSONNEL:  Medical Technologist and Technicians, LCC staff

# EQUIPMENT AND SUPPLIES:

35oC Ambient air incubator

Copan red capped liquid Stuarts media collection swabs

BHI Broth w/ Ciprofloxacin 10ug/mL (CIPBR)

MacConkey Agar (MAC)

MacConkey Agar w/ Ciprofloxacin 10ug/mL(CIPMA)

# ACCEPTABLE SPECIMEN:

Rectal swab(s) collected with Copan red capped liquid Stuarts media culture swab

UNACCEPTABLE SPECIMENS:

1.	Mislabeled or unlabeled specimens

2.	Specimens received >24 hours after collection

3.	Specimens collected using expired culturettes

HANDLING CONDITIONS:

1.	All specimens must be sent to the laboratory as soon as they are collected.

2.	All specimens must be processed following universal precautions, and under a laminar flow hood.

STEPWISE PROCEDURE:

Ordering in Soft system:

Order: Culture Rectal, Urology

Source: Rectal Swab

Plating:

- Label 1 BHI Broth w/ Ciprofloxacin 10ug/mL (CIPBR) tube using the label generated upon micro plating.

- Under the laminar hood insert the swab(s) into the broth and snap the shaft leaving the swab tip(s) in the media.

- Close the broth cap and vortex the specimen for 10 seconds.

- Place the broth in the 35oC ambient air incubator and incubate overnight.

Reading and Reporting Culture:

- After overnight incubation of the broth, subculture broth to MacConkey Agar (MAC) and MacConkey Agar w/ Ciprofloxacin 10ug/mL(CIPMA) plates. Issue Prelim report of “Culture in Progress” and place inoculated plates in the 35oC ambient air incubator and incubate overnight.

- Next day examine the MacConkey Agar w/ Ciprofloxacin 10ug/mL(CIPMA) for growth. If no growth is observed incubate plates for an additional 24 hours. If growth is observed subculture each morphotype to a MAC plate for ID/MIC the following day.

- After 48 hours of incubation, examine the MacConkey Agar w/ Ciprofloxacin 10ug/mL(CIPMA) for growth. If growth or additional morphotypes are observed subculture to MAC for ID/MIC testing. If no growth, issue a Final report “No ciprofloxacin resistant gram-negative bacilli isolated”. If any GNRs were subcultured the previous day, perform ID/MIC testing on those isolates.

- Before accepting susceptibility results verify purity plate acceptability and ciprofloxacin resistance (Interpret I result as R). Release complete panel results with a quantitation of “Isolated from broth”. If  ciprofloxacin tests as susceptible, do not report panel results,  repeat testing and resub organism to a new MacConkey Agar w/ Ciprofloxacin 10ug/mL(CIPMA) plate and notify Senior Technologist.

REFERENCES:

- Predictors of Infectious Complications after Targeted Prophylaxis for Prostate Needle Biopsy. The Journal Of Urology Vol 199,155-160 Jan 2018. Papagiannopoulos, D.

- Hardy Diagnostics Product Catalog, MacConkey Agar w/ Ciprofloxacin 10ug/mL, BHI Broth w/ Ciprofloxacin 10ug/mL. 2018