## TITLE:  SCC Soft Laboratory Information System

## PRINCIPLE:

The laboratory utilizes a Laboratory Information System (LIS), Soft, for their result processing. General Laboratory, which includes the Chemistry and Hematology Departments, Blood Bank and Microbiology are all included in this system. The purpose of the LIS and how it interacts with other systems is described below.

PERSONNEL:

###### All Laboratory Staff

## STEPWISE PROCEDURE:

- The Laboratory Information System (LIS) was implemented on October 13th, 2015, to assist the laboratory in better patient care. Some of the desired features include:

- General Laboratory Information System

- Comprehensive specimen management and tracking

- Decision Support Capabilities

- Clinical validation supporting secondary result review and/or authorization

- Interfaces to Other Information Systems

- Electronic/computer cross-match capabilities

- Scripted workup for microbiology cultures

- Management Reporting and Analysis

- Flexible patient reports for local or remote distributions

- Reference Lab Interface

All of the above result in improved dissemination of laboratory results to our clinicians. The system improves upon turn-around-time, in addition to having the results available on-line for easy retrieval. All of this contributes to better patient care.

- LIS is interfaced with Epic (ADT, Orders, Results, and Billing) through an interface engine and Quest Diagnostics through a VPN.

  - Epic ADT (Admissions, Discharges and Transfers) is sent to LIS.

  - Epic Orders are sent to LIS. Orders status changes are sent from LIS to Epic. Orders may also be sent from the LIS

  - Results are sent from LIS to Epic.

  - Billing is sent from LIS to Epic.

  - Quest Orders are sent from LIS. Results are sent from Quest to LIS to Epic.