## TITLE:  Autoverification Suspension

## PRINCIPLE:   To provide guidance for suspending autoverification.

PERSONNEL:  LIS Analyst, Medical Technicians

STEPWISE PROCEDURE:

In the event of a problem with a test method, analytic instrument, or the autoverification program, laboratory personel should be able to suspend autoverification.

- From Instrument Menu, click the Start/Stop Autoposting icon

- The Autoposting window will open and display the current status.

- To stop Autoposting, click “Suspend”.

- When ready to start Autoposting again, click the Start/Stop Autoposting icon

- The Autoposting window will open and display the current status.

- To start Autoposting, click “Start”