## TITLE:  Coronavirus (2019-nCoV) Testing to IDPH

## Principle:    	To properly prepare and ship specimens for Coronavirus (2019-nCoV) testing at Illinois Department of Public Health laboratories and to correctly process results when received.

Personnel:	Phlebotomists and Medical Technologists

Referred Laboratory:		Illinois Department of Public Health (IDPH)

Specimen Requirements:	Nasopharyngeal Swab in 2mL VTM Media AND

Oropharyngeal Swab in 2 mL VTM Media

Source MUST be indicated on container.

Specimen Stability:	Specimens should be stored at 2-8° C, shipped on ice packs, and tested within 72 hours.

Specimens received on Fridays after 12pm or over a weekend must be frozen at -70° C until shipment and must be sent on dry ice. Write “Order Dry Ice for Monday” on blood bank dry erase board along with the date and your initials.

Required Information:  	Only the most severe cases will be sent to IDPH.

Infection Prevention will obtain an authorization from the county health department and provide the lab with the authorization code.

2019-nCoV coronavirus testing sent to IDPH (Illinois Department of Public Health) requires authorization from a County Health Department.  Do not send specimens without authorization.

IDPH “Interim 2019 novel coronavirus (2019-nCoV) patient under investigation (PIU) form” is required and must be filled out by collecting unit.

LIS Order Code:	MISC – comment will state “COVID 19”

Stepwise Procedure:

Specimen Processing at Main Laboratory:

- Upon receipt of specimens and completed IDPH “Interim 2019 novel coronavirus (2019-nCoV) patient under investigation (PIU) form”. Verify the “NNDSS local record ID/Case ID” is completed. If this information is blank, page Infection Prevention at (630) 218-3425 to obtain the authorization code.

- While waiting for the authorization code, receive specimens into the LIS using computer LAB1212. Print 4 extra labels.

- Verify that the IDPH “Interim 2019 novel coronavirus (2019-nCoV) patient under investigation (PIU) form” is completely filled out.

- Verify specimen source is clearly indicated on each specimen.

- Place the specimens in the appropriate storage location (See Specimen Stability section) until packaging for shipment.

- Completely fill out an IDPH Communicable Diseases Laboratory Requisition for each specimen. Be sure to include the authorization code at the top.

- Make copies of all forms to keep in Miscellaneous Laboratory Tests file box.

- The IDPH Laboratory is open Monday through Friday from 8a to 4:30pm, and closed on federal holidays. Specimens are only accepted during open hours.

- Specimens will be sent via MedSpeed Courier Monday through Friday only and must be picked up before 2pm.

- Package the specimens in a biohazard specimen bag with absorbent material and include the IDPH Communicable Diseases Laboratory Requisition, the Health Department Authorization, and the Interim 2019 novel coronavirus (2019-nCoV) patient under investigation (PIU) form.

- Specimens are to be shipped in a white shipping box with cooler. These shipping boxes are stored in the in the store room.

  - For refrigerated specimens:  Place a frozen ice pack in the bottom of the cooler and cover it with a paper towel. Then place the packaged specimen(s) on top of the paper towel. Replace the cooler lid, tape the shipping box shut, and place a green shipping label with the IDPH address on the box.

  - For frozen specimens: Place the packaged specimen(s) in the bottom of the cooler and cover with a paper towel. Place a bag of dry ice on top of the paper towel. Replace the cooler lid, close and tape the box shut, and place a green shipping label with the IDPH address on the box.

- Delivery Address:

ATTN: Viral Diagnostics Laboratory

Illinois Department of Public Health

2121 West Taylor Street

Chicago, IL 60612

- Call MedSpeed (630) 617-5050 and inform them we have a specimen to be sent to IDPH in Chicago.

- Write a note on the white board that there is a specimen going to IDPH and place the box on the counter above the freezer.

- Place a LIS label on the yellow Reference Lab Testing Log and write the name of the lab and test being sent next to it.

- Place a second label on the “COVID-19 Testing Log” and write the date the specimen was sent to IDPH.

- Place the copies of the requisitions with health department authorization, Interim 2019 novel coronavirus (2019-nCoV) patient under investigation (PIU) form, and extra LIS label in the Miscellaneous Laboratory Tests file box under the first letter of the patient’s last name.

Specimen Processing at Yorkville Laboratory:

- Upon receipt of specimens and completed IDPH “Interim 2019 novel coronavirus (2019-nCoV) patient under investigation (PIU) form”. Verify the “NNDSS local record ID/Case ID” is completed. If this information is blank, page Infection Prevention at (630) 218-3425 to obtain the authorization code.

- Verify that the IDPH “Interim 2019 novel coronavirus (2019-nCoV) patient under investigation (PIU) form” is completely filled out.

- Completely fill out the IDPH Communicable Diseases Laboratory Requisition, one for each specimen, including health department authorization code written at the top.

- Package the specimens in a biohazard specimen bag with absorbent material and include the IDPH Communicable Diseases Laboratory Requisition, the Health Department Authorization, and the Interim 2019 novel coronavirus (2019-nCoV) patient under investigation (PIU) form.

- Send the specimen and forms with cold packs to the Main Laboratory for shipment to IDPH Laboratories.

- Keep the specimen refrigerated until the courier arrives for pickup.

Results Processing:

- When final results are received, page Infection Prevention at (630) 218-3425 and inform them of the results.

- Write directly on the results who the results were called to, the time and date the results were reported, and your initials.

- Remove requisition from Miscellaneous Laboratory Tests file box and verify patient information on results matches the LIS label.

- Place the extra LIS label on the results and place the results in the “Reports to be Scanned” basket in the LCC area.

- LCC phlebotomy staff will scan the results into the LIS.

- If all testing is complete, discard the requisition in the appropriate PHI receptacle.

## REFERENCE: 	U.S. Department of Health and Human Services

Centers for Disease Control and Prevention

IDPH Technical Bulletin for CDC 2019-Novel Coronavirus Real-Time PCR Diagnostic Panel